## PBE
Annexure-1
CONFIDENTIAL
Enclosure to letter No. CET-17(4)/ 4439/2021-55
Date : 10.03.2021
STEEL AUTHORITY OF INDIA LIMITED
DURGAPUR STEEL PLANT
Restoration of structures of SGP BF#4,DSP (04/de/4439)
Comparative statement of the quoted prices w.r.t. estimate
(TS NO: CET/04/DP/4439/TS/CE/02/R=1)
SL.NO | DESCRIPTION | ESTIMATE |  |  |  | EASTERN METEC PRIVATE LIMITED - Kolkata |  | P AND SEN CONSTRUCTION CO - INDIA
|  | Unit | Qty | Unit Rate (Rs.) | Amount (Rs. In Lakhs) | Unit Rate (Rs.) | Amount (Rs. In Lakhs) | Unit Rate (Rs.) | Amount (Rs. In Lakhs)
Schedule 2.5.1-1 (Electrical)
1 | Tapping of 3P+N illumination power from the incomer terminal board of SLDB 48 at RPCC-48 room of SGP building with cable and terminating the same at new LDB as per TS Clause & drawings approved by Employer/ Consultant including supply, erection, testing commissioning as under-
i) | 1100V grade, aluminium conductor, 4C, PVC/XLPE insulated, armoured power cable of size 50 sq mm with cable tag, MS clamping supports, clamps, dressed & with termination arrangements required in the installation as stated above, complete in all respects including suitable cable trays, other erection materials and all other accessories as per TS clause & drawings approved by Employer & Consultant including supply, erection, testing & commissioning. Cable route shall be through existing route, new route, building walls, structure, suited at site as per drawings approved by Employer/Consultant. | M | 80 | 520 | 0.416 | 1000 | 0.8
ii) | Termination /reconnection of cables at terminal boards of SLDB 48 & new LDB for terminating power cables including supply, installation of cable glands, termination units | Nos | 2 | 620 | 0.0124 | 18750 | 0.375
iii) | Supply and installation of Cable Trays/ Racks as per TS clause and approval of Employer & Consultant. | M | 60 | 350 | 0.21 | 1875 | 1.125
2 | 415V, Lighting distribution board (LDB) for lighting load with MCCB & MCBs as per TS Clause & drawings approved by Employer& Consultant including supply, erection, testing commissioning comprising of the following main equipment / items: | Set | 1 | 33000 | 0.33 | 121265 | 1.2127
Location: Main operating platform of buffer tank (15.1m)
a) | Manufacturing of panel with 2mm thick sheet steel.
b) | Termination arrangement at the outgoing side of MCB/ MCCBs for terminating outgoing power cables
c) | 3 phase & neutral connecting & main busbars for incoming & outgoing feeders with insulators/ terminal blocks as per requirement.
d) | Indication lamps, ON-OFF switches as per requirement etc
e) | Voltmeter with selector switch (0-500V)
f) | 415V, 63A 4PN MCCB as incomer : 1-Nos
g) | 415V, 10A DP MCB as outgoing :12-Nos
h) | 415V, 20A TPN MCB as outgoing : 3-Nos
3 | 220V/240V, Integral vapour proof well glass luminaire with 70W HPSV for stair case, platform, periphery illumination of buffer tank structure with connection from new LDB through junction box as per TS Clause & drawings approved by Employer & Consultant including supply, erection, testing commissioning as under -
i) | 220V/240V, HPSV 70W Integral vapour proof well glass luminaire, IP65, with with all accessories including control gears, 70W HPSV Lamps etc. to be mounted on structures with brackets, light fitting & mounting accessories for complete installation, and connection of the luminaries from LDB through junction box as required with cable maximum 6 luminaries in one circuit, as per TS Clause & drawings approved by Employer & Consultant including supply, erection, testing commissioning. | Nos | 60 | 3800 | 2.28 | 5000 | 3
ii) | 1100V grade, copper conductor, 4C, PVC/XLPE insulated, armoured cable of size 2.5 sq mm with cable tag, MS clamping supports, clamps, dressed & with termination arrangements required in the installation as stated above, complete in all respects including suitable cable trays, other erection materials and all other accessories as per TS clause & drawings approved by Employer & Consultant including supply, erection, testing & commissioning. Cable route shall be through structure, suited at site as per drawings approved by Employer & Consultant. | M | 500 | 300 | 1.5 | 800 | 4
iii) | Termination /reconnection of cables at terminal boards of new LDB and luminaries for terminating cables including supply, installation of cable glands, termination units | Nos | 30 | 280 | 0.084 | 1250 | 0.375
iv) | Supply and installation of Cable Trays/ Racks as per TS clause and approval of Employer & Consultant. | M | 200 | 350 | 0.7 | 1250 | 2.5
4 | Tapping of 3P+N welding power from panel QF2 outgoing terminal board of RPCC-48 of SGP building with cable and terminating the same at new Welding socket as per TS Clause & drawings approved by Employer & Consultant including supply, erection, testing commissioning as under -
i) | 1100V grade, aluminium conductor, 4C, PVC/XLPE insulated, armoured power cable of size 70 sq mm with cable tag, MS clamping supports, clamps, dressed & with termination arrangements required in the installation as stated above, complete in all respects including suitable cable trays, other erection materials and all other accessories as per TS clause & drawings approved by Employer & Consultant including supply, erection, testing & commissioning. Cable route shall be through existing route, new route, building walls, structure, suited at site as per drawings approved by Employer & Consultant. | M | 100 | 650 | 0.65 | 1250 | 1.25
ii) | Termination /reconnection of cables at terminal boards of RPCC-48 & new Welding socket for terminating power cables including supply, installation of cable glands, termination units and approval of Employer & Consultant | Nos | 2 | 950 | 0.019 | 31250 | 0.625
iii) | Supply and installation of Cable Trays/ Racks as per TS clause and approval of Employer& Consultant. | M | 60 | 400 | 0.24 | 800 | 0.48
iv) | 415V, 63A, Industrial Switch socket outlet of high grade Thermo-plastic material with termination/ distribution box & switch, 5 pole (3P+N+E), IEC 60309, IP67, with 5 pin thermoplastic plug for welding supply as per TS Clause & drawings approved by Employer/ Consultant including supply, erection, testing commissioning. Location: Main operating platform of buffer tank (15.1m) | Set | 1 | 9500 | 0.095 | 25000 | 0.25
5 | 415V, 3 phase power and control supply for motorised valve and LCS from SGP1 48/2 MCC feeder 2F1 outgoing terminal board of SGP building with cable for power and control and terminating the same at new motorized valve and LCS as per TS Clause & drawings approved by Employer & Consultant including supply, erection, testing commissioning.
i) | 1100V grade, aluminium conductor, 4C, PVC/XLPE insulated, armoured power cable of size 16 sq mm with cable tag, MS clamping supports, clamps, dressed & with termination arrangements required in the installation as stated above, complete in all respects including suitable cable trays, other erection materials and all other accessories as per TS clause & drawings approved by Employer & Consultant including supply, erection, testing & commissioning. Cable route shall be through existing route, new route, building walls, structure, suited at site as per drawings approved by Employer& Consultant. | M | 100 | 270 | 0.27 | 700 | 0.7
ii) | 1100V grade, copper conductor, 12C, PVC/XLPE insulated, armoured control cable of size 2.5 sq mm with cable tag, MS clamping supports, clamps, dressed & with termination arrangements required in the installation as stated above, complete in all respects including suitable cable trays, other erection materials and all other accessories as per TS clause & drawings approved by Employer & Consultant including supply, erection, testing & commissioning. Cable route shall be through existing route, new route, building walls, structure, suited at site as per drawings approved by Employer & Consultant. | M | 100 | 560 | 0.56 | 2000 | 2
iii) | 415V, Local Control Station (LCS) for new motorised valve Location: Main operating platform of buffer tank (15.1m) | Nos | 1 | 6250 | 0.0625 | 62500 | 0.625
iv) | 1100V grade, copper conductor, 6C, PVC/XLPE insulated, armoured control cable of size 2.5 sq mm from SGP1 48/2 MCC feeder 2F1 outgoing terminal board of SGP building and terminating the same at new LCS motorized valve with cable tag, MS clamping supports, clamps, dressed & with termination arrangements required in the installation as stated above, complete in all respects including suitable cable trays, other erection materials and all other accessories as per TS clause no. 3.16, 3.17, 3.18 & drawings approved by Employer & Consultant including supply, erection, testing & commissioning. Cable route shall be through existing route, new route, building walls, structure, suited at site as per drawings approved by Employer & Consultant. | M | 100 | 460 | 0.46 | 1000 | 1
v) | Termination /reconnection of cables at terminal boards of 48/2 MCC feeder 2F1 & motorised valve for terminating power & control cables including supply, installation of cable glands, termination units and approval of Employer & Consultant | Nos | 6 | 400 | 0.024 | 6250 | 0.375
vi) | Supply and installation of Cable Trays/ Racks as per TS clause no. 3.17 and approval of Employer & Consultant. | M | 60 | 320 | 0.192 | 2500 | 1.5
6 | Earthing & lightning system for LDB, lighting fixtures, welding socket, motorized valve, LCS installed in the buffer tank structure including earth pits, lightning arrestors, GI earth strips, etc as per TS Clause & drawings approved by Employer & Consultant including supply, erection, testing commissioning as under -
i) | Earth pits made of GI pipes, funnels, salt, charcoal, RCC chambers per IS: 3043-1987 complete in all respects and TS clause and drawings approved by Employer & Consultant including supply, erection, testing commissioning. | Nos | 6 | 10000 | 0.6 | 10500 | 0.63
ii) | "Earthing system including making earth ring main and earthing of electrical equipment, towers, lightning arrestor, structures, buildings etc. by using following GI Strip/ GI Wires duly painted suitable for above & below the ground level laid in the cable trenches or separately as per requirement as per TS clause and drawings approved by Employer & Consultant including supply, erection, testing commissioning : | Lot | 1 | 130000 | 1.3 | 625000 | 6.25
50x6 mm GI flats
25x6 mm GI flats
8 SWG GI wire
iii) | Lightning arrestors with connection to dedicated earth pits. | Nos | 2 | 10250 | 0.205 | 31250 | 0.625
7 | Preparation of basic & detailed engineering drawings as per drawing list given in TS clause for which approval shall be taken from Employer & Consultant. The list of drawings given in the TS Clause is tentative and this may be discussed with the bidder and finalized after placement of LOA (Letter of Acceptance) | Lot | 1 |  | 0.5105 | 700000 | 7
Schedule 2.2.1-1 (Civil works)
PILING work
Item No. | Description | Unit | Qty. | Rate (Rs) | Amount (Lakhs) | Rate (Rs) | Amount (Lakhs)
P1 | Boring, providing and installation bored cast-in-situ reinforced cement concrete piles of grade M-25 of specified diameter and length below the pile cap, to carry a safe working load not less than specified, excluding the cost of steel reinforcement but including the cost of boring with bentonite solution and temporary casing of appropriate length for setting out and removal of same and the length of the pile to be embedded in the pile cap . by percussion drilling using Direct mud circulation (DMC) or Bailer and chisel technique by tripod and mechanical Winch Machine all complete, including removal of excavated earth with all its lifts and leads (length of pile for payment shall be measured up to bottom of pile cap) all complete as directed by engineer-in charge.
Truck Mounted rotary/TMR/Tubewell boring machine shall not be used.
a) | 450 mm dia piles | RM | 10 | 1570.5652 | 0.15706 | 2080 | 0.208
b) | 500 mm dia | RM | 10 | 1846.913 | 0.18469 | 2360 | 0.236
c) | 600 mm dia piles | RM | 300 | 2531.4 | 7.5942 | 3100 | 9.3
EARTH-WORK
EW-1 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m in all kinds of soil all complete as directed by engineer-in charge. | Cum | 700 | 158.1304 | 1.1069 | 250 | 1.75
EW-2 | Transportation of Earth materials including loading, unloading and stacking to a distance of 7 kms | Cum | 130 | 214.46 | 0.2788 | 200 | 0.26
EW-3 | Excavation work by mechanical means (Hydraulic excavator)/ manual means in foundation trenches or drains (not exceeding 1.5m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soils as directed, within a lead of 50 m all complete as directed by engineer-in charge in:
a) | Ordinary rock | Cum | 10 | 306.4783 | 0.030648 | 500 | 0.05
b) | Hard rock | Cum | 10 | 883.6522 | 0.088365 | 500 | 0.05
EW-4 | Transportation of excavated rock materials including loading, unloading and stacking to a distance of 7 kms | Cum | 2 | 301.9652 | 0.0060393 | 250 | 0.005
EW-5 | Open timbering over areas including strutting, shoring etc. complete. (Measurements to be taken of the face area timbered):
a) | Depth not exceeding 1.5 m | Sqm | 125 | 35.5652 | 0.044457 | 200 | 0.25
b) | Depth exceeding 1.5 m but not exceeding 3 m | Sqm | 125 | 42.1304 | 0.052663 | 350 | 0.4375
EW-6 | Extra rates for quantities of works, executed: In or under water and/or liquid mud, including pumping out metre water as required (in meter depth). | RM | 10 | 31.6261 | 0.0031626 | 50 | 0.005
EW-7 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift up to 1.5 m | Cum | 575 | 191 | 1.0983 | 150 | 0.8625
EW-8 | Extra for every additional lift of 1.5 m or part thereof in excavation / banking excavated or stacked materials.
a) | All kinds of soil | Cum | 260 | 78.6087 | 0.20438 | 50 | 0.13
b) | Ordinary or hard rock | Cum | 2 | 140.9565 | 0.0028191 | 75 | 0.0015
EW-9 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | Cum | 10 | 1698.3043 | 0.16983 | 1100 | 0.11
EW-10 | Surface dressing of the ground including removing vegetation and inequalities not exceeding 15 cm deep and disposal of rubbish, lead up to 50 m and lift up to 1.5 m. All kinds of soil | SqM | 100 | 21.1739 | 0.021174 | 50 | 0.05
EW-11 | Supplying Morrum to work site for backfilling in foundation / trenches and for filling in roads including loading unloading all leads, lifts complete as per drawing and direction of Engr-in charge | Cum | 5 | 702.4348 | 0.035122 | 1000 | 0.05
EW-12 | Providing and filling sand in foundation, under floor and in plinth etc including watering ramming with all lead, lift labour and material etc all complete. | Cum | 5 | 1000 | 0.05 | 1100 | 0.055
CONCRETE
C-1 | Providing and laying in position machine batched and machine mixed design mix M-25 grade cement concrete for reinforced cement concrete work, using cement content as per approved design mix, including pumping of concrete to site of laying but excluding the cost of centering, shuttering, finishing and reinforcement, including admixtures in recommended proportions as per IS: 9103 to accelerate, retard setting of concrete, improve workability without impairing strength and durability as per direction of Engineer-in-charge.“(Note: - Cement content considered in this item is @ 330 kg/cum. “Excess/ less cement used as per design mix is payable/ recoverable separately).
a) | All works up to plinth level | CuM | 125 | 6954.1739 | 8.6927 | 10000 | 12.5
b) | All works above plinth level up to floor V level | CuM | 115 | 8174.6522 | 9.4009 | 10850 | 12.4775
c) | Extra for R.C.C. work above floor V level for each four floors or part thereof . | Cum | 10 | 244.3043 | 0.02443 | 1000 | 0.1
C-2 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :
a) | 1:2:4 (1 cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size | Cum | 5 | 5903.1304 | 0.29516 | 6500 | 0.325
b) | 1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size) | Cum | 15 | 5034.4348 | 0.75517 | 4500 | 0.675
C-3 | Identifying, taking delivery, loading, transporting and unloading at work place of reinforcing steel bars Thermo-Mechanically Treated bars of grade Fe-500D or more as per IS:1786-1985 for RCC work, its laying and fixing in position of all diameters in all lengths as specified in the relevant drawings and specifications, including splicing, chairs, cleaning, straightening, bending, cutting, hooking and binding with 20 SWG wire or welding, if necessary, inclusive of supply of SWG wire, leads all complete for works up to plinth level. (Exclusive of the cost of reinforcement but inclusive of cost of transportation, cutting, bending making & placing in position and cost of SWG wire and concrete cover block) Steel for reinforcement will be issued free by DSP at CMO stockyard Durgapur | MT | 20 | 11000 | 2.2 | 12000 | 2.4
C-4 | Identifying, taking delivery, loading, transporting and unloading at work place of reinforcing steel bars Thermo-Mechanically Treated bars of grade Fe-500D or more as per IS:1786-1985 for RCC work, its laying and fixing in position of all diameters in all lengths as specified in the relevant drawings and specifications, including splicing, chairs, cleaning, straightening, bending, cutting, hooking and binding with 20 SWG wire or welding, if necessary, inclusive of supply of SWG wire, leads all complete for works above plinth level. (Exclusive of the cost of reinforcement but inclusive of cost of transportation, cutting, bending making & placing in position and cost of SWG wire and concrete cover block) Steel for reinforcement will be issued free by DSP at CMO stockyard Durgapur | MT | 10 | 11000 | 1.1 | 12000 | 1.2
C-5 | Taking delivery of raw steel, transportation, manufacturing & fixing in position as per drawings and specifications inserts, jigs, fixtures, channels, edge protection angles, beams, ., in all positions including all by work and adjustments in shuttering at all levels, cleaning of grease /paint, removal of burrs, . there from and welding wherever necessary and inclusive of grouting with neat cement sand slurry all complete as directed by engineer-in charge. Raw Steel will be issued by DSP free at CMO stockyard Durgapur | MT | 1.5 | 11500 | 0.1725 | 15000 | 0.225
C-6 | Centering and shuttering including strutting, propping. and removal of form for all heights all complete as directed by engineer-in charge:
a) | Foundations, footings, bases of columns, etc. for mass concrete | Sqm | 250 | 247.6957 | 0.61924 | 450 | 1.125
b) | Walls (any thickness) including attached pilasters, buttresses, plinth and string courses etc. | Sqm | 350 | 529.8261 | 1.8544 | 550 | 1.925
c) | Suspended floors, roofs, landings, balconies and access platform | Sqm | 175 | 602.6522 | 1.0546 | 700 | 1.225
d) | Lintels, beams, plinth beams, girders, bressumers and cantilevers | Sqm | 100 | 602.6522 | 0.60265 | 750 | 0.75
C-7 | Supply & fixing of anchor bolts, nuts and washer [material as per IS-1363-(part-3)-1992] for the holding down anchor bolts including all tools, tackles, labour & materials all complete as per drawing and direction of Engineer in charge | MT | 5 | 70000 | 3.5 | 150000 | 7.5
C-8 | Supplying, placing Non-Shrink cement based standard grout of approved make & grade for grouting under base plates, pockets, bolts ., as per manufacturers specification including shuttering and curing ., all materials and labour complete at all heights and depths above or below ±0.00 level and as per direction of Engineer-in-charge. | Cum | 2 | 60000 | 1.2 | 70000 | 1.4
C-9 | Supplying and providing 2 coats of bitumen Painting (of approved make) of grade 20/30 as per specifications in foundations on concrete surfaces, which are in contact with earth, all material and labour complete all complete as directed by engineer-in charge | Sqm | 250 | 92.2174 | 0.23054 | 300 | 0.75
C-10 | Brick work with non-modular fly ash bricks conforming to IS:12894, class designation 10 average compressive strength in super structure above plinth level up to floor V level in all complete as directed by engineer-in charge : | Cum | 5 | 6498.4783 | 0.32492 | 6500 | 0.325
Cement mortar 1:4 (1 cement : 4 coarse sand)
C-11 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:4 (1 cement : 4 coarse sand) | Cum | 5 | 5544.5652 | 0.27723 | 7500 | 0.375
C-12 | Providing and laying factory made chamfered edge Cement Concrete paver blocks In foot path, park & lawns driveway or light & traffic parking . of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of course sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand, all complete as per manufacturer's specifications & direction of Engineer in- Charge for -80mm thick Cement concrete paver block of M-30 grade with approved colour, design & pattern all complete as directed by engineer-in charge. | Sqm | 60 | 828.6957 | 0.49722 | 950 | 0.57
C-13 | Providing and laying at or near ground level factory made kerb stone of M-25 grade cement concrete in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement: 3 coarse sand), including making joints with or without grooves (thickness of joints except at sharp curve shall not to more than 5mm), including making drainage opening wherever required complete . as per direction of Engineer-in-charge (length of finished kerb edging shall be measured for payment). (Precast C.C. kerb stone shall be approved by Engineer-in-charge) all complete as directed by engineer-in charge. | RM | 1 | 7283.6087 | 0.072836 | 1000 | 0.01
C-14 | 75 mm thick back filling for pitching including supplying of required materials and consolidation etc. complete with :
| Moorum | Sqm | 60 | 64.2609 | 0.038557 | 150 | 0.09
| Stone aggregate 20 mm nominal | Sqm | 60 | 141.087 | 0.084652 | 180 | 0.108
| Stone aggregate 40 mm nominal size | Sqm | 15 | 137.5217 | 0.020628 | 150 | 0.0225
C-15 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer – in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | Cum | 5 | 1510.8261 | 0.075541 | 1000 | 0.05
C-16 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge | Cum | 5 | 2204.087 | 0.1102 | 2000 | 0.1
C-17 | Extra for cutting reinforcement bars manually/ by mechanical means in R.C.C. or R.B. work (Payment shall be made on the cross sectional area of R.C.C. or R.B. work) as per direction of Engineer -in -charge. | Sqm | 25 | 750.8696 | 0.18772 | 235 | 0.05875
C-18 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge: In cement mortar | Cum | 5 | 1278.1739 | 0.063909 | 800 | 0.04
C-19 | Providing and mixing of Super plasticizer of approved make of (confirming to IS 9103-1999) of approved quality in concrete as per manufacturers specification all complete as per direction of Engineer-in-charge | Litres | 400 | 140 | 0.56 | 700 | 2.8
C-20 | Cleaning of steel structures with scrappers or wire brushes so as to remove dust, dirt, rust and loose perished paint leaving a clean surface ready for painting as per specifications complete Engineer-in-charge. | MT | 5 | 25 | 0.00125 | 3750 | 0.1875
CHEMICAL STRENGTHENING OF WALLS
Ch-1 | Removal of loose contamination from the surface by wire brushing and cleaning the same by air spray all complete as per direction of Engineer-in-charge | Sqm | 500 | 125 | 0.625 | 700 | 3.5
Ch-2 | Providing and fixing of 6-8mm dia nozzle along the construction joint as well as other areas at an interval of 500mm c/c with standard epoxy mortar (moisture insensitive), followed by injection of low viscosity epoxy grouting compound through the nozzle and sealing the nozzle with appropriate epoxy mortar all complete as directed by engineer-in charge. | Sqm | 500 | 1250 | 6.25 | 750 | 3.75
All construction chemical compounds shall be of approved make and grade and shall executed as per manufacturer’s specification.
Ch-3 | Providing and applying 5mm (minimum) thick standard epoxy based mortar after applying epoxy primer over all the surface including sealing of construction joints to form a monolithic strong surface all complete as directed by engineer-in charge | Sqm | 500 | 1100 | 5.5 | 615 | 3.075
All construction chemical compounds shall be of approved make and grade and shall executed as per manufacturer’s specification
Ch-4 | Providing and applying 10mm (min) thick standard microfiber reinforced polymer modified mortar (where temperature is more than 50 deg C) over the entire surface including sealing of construction joints to form a monolithic surface all complete as directed by engineer-in charge. All construction chemical compounds shall be of approved make and grade and shall be as per manufacturer’s specification | Sqm | 500 | 850 | 4.25 | 725 | 3.625
All construction chemical compounds shall be of approved make and grade and shall be as per manufacturer’s specification
Ch-5 | Providing and applying 2 coats of chemical resistant epoxy coating all over the surface all complete as directed by engineer-in charge. | Sqm | 500 | 650 | 3.25 | 550 | 2.75
All construction chemical compounds shall be of approved make and grade and shall executed as per manufacturer’s specification
Ch-6 | Drilling holes in existing / finished concrete surfaces for grouting stub bars by means of percussive drills with diamond bits with air/ water flushing and grouting the stub bars with epoxy grout including cleaning the hole with compressed air and drying the hole with blow torch for removing the moisture ., and fixtures all materials and labour complete. The epoxy grout material shall be standard and approved make. The material for stub bars will be paid as inserts in concrete for the following diameters. The rate shall include supply of all material (including epoxy) and labour complete all complete as directed by engineer-in charge.
a) | 28 dia | RM | 10 | 1400 | 0.14 | 1500 | 0.15
b) | 32 mm dia | RM | 10 | 1450 | 0.145 | 2000 | 0.2
ch-7 | Providing and fixing of 6-8mm dia nozzle along the construction joint as tank as other areas at an interval of 500mm c/c with standard cementious grout material with an expanding grout admixture, to increase flow and cohesion in cement grouts and to develop non-shrink property to be injected under pressure Engineer-in-charge. All construction chemical compounds shall be of approved make and grade and shall executed as per manufacturer’s specification. | SQM | 500 | 300 | 1.5 | 700 | 3.5
CH-8 | Providing and fixing post fixed chemical bolts of standard and approved make as directed by Engineer-in-charge. All construction chemical compounds shall be of approved make and grade and shall executed as per manufacturer’s specification..
| a)Dia M24 X 290mm | Nos | 10 | 1500 | 0.15 | 1000 | 0.1
| b)Dia M16X 190mm | Nos | 10 | 750 | 0.075 | 900 | 0.09
C | Schedule 2.3.1-1 (Structural works)-STRUCTURAL
S-1 | Preparation of GA, marking and detail fabrication and erection drawings based on design drawings supplied by the employer, supply of all pipe materials of grade Yst 240 as per IS 1978 : 1982 ,loading, transportation, unloading to place of fabrication outside plant boundary, fabrication of all structures,welding including supply of electrodes and other consumable with bidder's own tools, tackles, equipment, labour . as per final fabrication drawings and specifications, inspection, testing and applying one coat of approved quality primer (including supply of primer) as per specifications, delivery of fabricated structures from fabrication yard to the site of erection including handling, storing, stacking with bidder's own tools, tackles, consumable, equipment, labour . complete as directed by the Engineer in charge (the rate for supply & fabrication shall include burning losses, cutting allowances, scrap generation ., the quantity for payment shall be as per bill of material [BOM] of approved / accepted fabrication drawings, no payment shall be made for rolling margins, burning losses, cutting allowances, scrap generation .). grade Yst 240 as per IS 1978 : 1982 , loading, transportation, unloading to place of fabrication outside plant boundary, fabrication of all structures, welding including supply of electrodes and other consumable with bidder's own tools, tackles, equipment, labour . as per final fabrication drawings and specifications, inspection, testing and applying one coat of approved quality primer (including supply of primer) as per specifications, delivery of fabricated structures from fabrication yard to the site of erection including handling, storing, stacking with bidder's own tools, tackles, consumable, equipment, labour . complete as directed by the Engineer in charge (the rate for supply & fabrication shall include burning losses, cutting allowances, scrap generation ., the quantity for payment shall be as per bill of material [BOM] of approved / accepted fabrication drawings, no payment shall be made for rolling margins, burning losses,cutting allowances, scrap generation .) | MT | 28 | 75000 | 21 | 20000 | 5.6
S-2 | Preparation of GA, marking and detail fabrication and erection drawings based on design drawings supplied by the employer, receiving material of E 350 BR grade to be issued free by employer from CMO stockyard at Durgapur, loading,transportation, unloading to place of fabrication outside plant boundary,fabrication of all structures, welding including supply of electrodes and otherconsumable with bidder's own tools, tackles, equipment, labour . as per final fabrication drawings and specifications,inspection, esting and applying one coat of approved quality primer (including supply of primer) as per specifications, delivery of fabricated structures from fabrication yard to the site of erection including handling, storing, stacking with bidder's own tools, tackles, consumable, equipment, labour . complete as directed by the Engineer in charge (the rate for supply & fabrication shall include burning losses, cutting allowances, scrap generation ., the quantity for payment shall be as per bill of material [BOM] of approved / accepted fabrication drawings, no payment shall be made for rolling margins, burning losses, cutting allowances, scrap generation .). | MT | 12 | 11800 | 1.416 | 20000 | 2.4
S-3 | Preparation of GA, marking and detail fabrication and erection drawings based on design drawings supplied by the employer, receiving material (Fe 250 grade) to be issued free by employer from CMO stockyard at Durgapur, loading, transportation, unloading to place of fabrication outside plant boundary, fabrication of all structures including floor gratings, welding including supply of electrodes and other consumable with bidder's own tools,tackles, equipment, labour . as per final fabrication drawings and pecifications, inspection, testing and applying one coat of approved quality primer (including supply of primer) as per specifications,delivery of fabricated structures from fabrication yard to the site of erection including handling, storing, stacking with bidder's own tools, tackles, consumable,equipment, labour . complete as directed by the Engineer in charge (the rate for supply & fabrication shall include burning losses, cutting allowances, scrap generation ., the quantity for payment shall be as per bill of material [BOM] of approved / accepted fabrication drawings,no payment shall be made for rolling margins, burning losses, cutting allowances, scrap generation .).. | MT | 165 | 11800 | 19.47 | 20000 | 33
S-4 | Taking delivery of fabricated structures, as in S-1 and S-2, at site including handling, storing, stacking, site assembly . erection of fabricated structures, as in S-1 and S-2, and fixing in position including alignment, levelling, securing, fixing, bolting, welding, checking, gas cutting, grinding, matching with the other structures . at all heights above 15.1m level complete in all respects, applying one coat of primer and two coats of finish paints (including supply of primer & finish paint) including supply of all consumables, as per specification and final GA drawings or as directed by the Engineer-in-Charge with bidder's own tools, tackles, temporary support, scaffolding, equipment, labour complete | MT | 40 | 18000 | 7.2 | 10000 | 4
S-5 | Taking delivery of fabricated structures from bidder’s fabrication yard , as in S-3 , to site including handling, storing, stacking, site assembly . erection of fabricated structures, as in S-3, and fixing in position including alignment, levelling, securing, fixing, bolting, welding, checking, gas cutting, grinding, matching with the other structures . at all eights between 0.0m and 45.0m level complete in all respects, applying one coat of primer and two coats of finish paints (including supply of primer & finish paint) including supply of all consumables, as per specification and final GA drawings or as directed by the Engineer-in-Charge with bidder's own tools, tackles,temporary support, scaffolding, equipment, labour . complete. | MT | 165 | 15000 | 24.75 | 10000 | 16.5
S-6 | Dismantling, with due care, the existing damaged lattice tower steel work as per dismantling scheme outlined in design drawings and/or as per direction of Engineer-in-charge at all heights between 15.1m and 50.0m level including loading,transporting, unloading and stacking the dismantled as usable and non-usable structures at a specified location within plant boundary and within 7 km from working site as directed by the Engineer in charge with bidder's own tools, tackles,temporary support, scaffolding, equipment, labour . complete (Payment shall be made on the basis of actual measurement of dismantled structures in weigh bridge). | MT | 30 | 10000 | 3 | 6000 | 1.8
S-7 | Supply, laying & fixing of CGS sheeting work at all heights in roofs and sides of conveyor galleries, including transporting, cutting, placing, holing including supply & fixing of all fixtures as per drawings/ specifications and as directed by Engineer in Charge with Bidder's own tools, tackles, temporary support, scaffolding, handling equipment, labour . complete (Net laid area of sheeting work shall be considered and measured for payment purpose).Sheeting material will be supplied by DSP at CMO stockyard, Durgapur. | Sqm | 20 | 300 | 0.06 | 2500 | 0.5
S-8 | Dismantling with due care the existing sheeting work as per specification and or as per drawing or as per direction of Engineer-in-charge at all heights and levels including loading, transporting,unloading and stacking the dismantled non-usable sheet at a specified location (within plant boundary and within 7 km from site) as directed by the Engineer incharge with all tools, tackles, temporary support, scaffolding, equipment, labour complete. (Net laid area of sheeting shall be considered and measured for dismantled quantity for payment. | Sqm | 20 | 200 | 0.04 | 600 | 0.12
Schedule 2.3.1-1 (Structural works)-MECHANICAL AND UTILITY
1 | Dismantling of existing water supply lines (DN 400) from the existing manual isolation valves (tag no. 425 & 426). | MT | 1 | 10000 | 0.1 | 25000 | 0.25
2 | Fabrication, supply and erection of 1 no. buffer vessel proper with provision of inlet & outlet nozzles, vent pipe, manhole, level sensor. | MT | 70 | 130000 | 91 | 72000 | 50.4
3 | Fabrication, supply and erection of 2 nos. DN 400 water supply lines from the existing manual isolation valves (tag no. 425 & 426) up to the proposed buffer vessel along with pipe fittings, pipe supports . | M | 210 | 11400 | 23.94 | 7000 | 14.7
4 | Fabrication, supply and erection of 2 nos. DN 400 water delivery lines from the proposed buffer vessel up to water discharge line to granulation box along with pipe fittings, pipe supports . | M | 140 | 11400 | 15.96 | 7000 | 9.8
5 | Supply and erection of manual gear operated gate valve of size DN 400 | Nos | 2 | 92000 | 1.84 | 250000 | 5
6 | Supply and erection of motorized gate valve of size DN 400 | Nos | 1 | 110000 | 1.1 | 250000 | 2.5
7 | Fabrication, supply and erection of 1no. DN 450 overflow line from the proposed buffer vessel up to the nearest surface water drain along with pipe fittings, pipe supports . | M | 50 | 12600 | 6.3 | 8000 | 4
8 | Painting of vessel, water lines, pipe supports within the battery limit.. | MT | 110 | 4000 | 4.4 | 1400 | 1.54
1 | Total Quoted price |  |  |  | 299.3269 |  | 272.6724
2 | GST |  |  |  | 53.8788 |  | 49.081
3 | Total Quoted price ( Including GST) |  |  |  | 353.2058 |  | 321.7534
4 | Input Tax Credit (ITC) |  |  |  | 53.5632 |  | 49.081
5 | Total Quoted price net of ITC on GST |  |  |  | 299.6425 |  | 272.6724 |  | 273.2717
6 | Variation w.r.t Estimate (Net of ITC on GST) | [5 empty] | -9.001% |  | -8.801%
7 | Ranking | [5 empty] | L1 |  | L2
Note on B140: Author: Dismantling Job
Note on E141: Author:
Note on G141: Author:
Note on I141: Author: