## BOQ_WITH_WITHOUT ITC_ pkg cost (hidden)
STEEL AUTHORITY OF INIDA LIMITED | [10 empty] | ENGG. ESTIMATE
BOKARO STEEL PLANT | [10 empty] | 71.354
Installation of Nitrogen Injection system in oil filled power and rectifier transformer of DNW, BSL
ASSIGN. NO.- 02/DE/4581
| NIFPS for 31 Nos. of oil filled power & rectifier transformers of DNW, BSL | Unit |  |  | Qty. | Unit Rate (LC)- Rs.L | Amt. (Rs. L) LC | Amt. (Rs. L) LC
| Mechanical equipment | [5 empty] | BQ of M/s AIF Engg. Pvt. Ltd. Dtd. 24.03.2017 (Rs. 95 L/unit) | BQ of M/s Simplicity dtd. 23.02.2016 (Rs. 125 L/ unit) | Basis / Remarks
| 2 nos. of Electrical curing furnace | nos. |  |  | 2 | 95 | 190 | 250
| MS pipe for exhaust fumes | t |  |  | 10 | 0.75 | 7.5 | 7.5 | Engg. Est.
Electrics
| NIFPS for 31 Nos. of oil filled power & rectifier transformers of DNW, BSL | Unit | Qty. Outside plant | Qty. Inside plant | Total Qty. | Rate (Rs.) | Amt. (Rs. L) | Basis from stage-1 to updated initial pkg cost | Remarks for Final package cost
A-1 | Equipment
1 | NIFPS System
1.1 | supply of system equipmentFEC, 30 mtrs. Fire Survival Cable, Control Box, Fire detector, signal Box & TCIV Suitable for upto 8 MVA, 11kV/ 6.6 kV transformers with retrofitting | nos. | 0 | 24 | 24 | 1171353.7255 | 281.1249 | STAGE -1 : BQ of M/s CTR (Ref: SRM.FP:1956297:q; dt: 12.03.2019. cost committee decide to knockdown BQ of M/s CTR by 10% with reference to Order copy of NIFPS sys at RSP dt. 15.01.18. Escalation factor of 1.06 till Jan 2021. INITIAL PKG COST SEPT 2021: Cost committee for pkg cost on 07.09.2021 decided to remove the 10% knockdown done during capital cost estimate. Escalation factor of 1.03 has been taken from Feb2021 to July 2021. UPDATED INITIAL PKG COST NOV 2021 : only ITC portion is updated due to consideration of five (5) transformers in township area. | Escalation factor of 1.12 has been considered as per WPI (all commodities) from Sept 2021 to June 2022.
1.2 | supply of system equipmentFEC, 30 mtrs. Fire Survival Cable, Control Box, Fire detector, signal Box & TCIV Suitable for above 8MVA and upto 15 MVA, 132/11kV kV transformers with retrofitting | nos. | 5 | 2 | 7 | 1208591.8834 | 84.6014
1.3 | Supply of ERW Class "C" pipes with support &fitting etc. for connection between Transformer & FEC | set | 5 | 26 | 31 | 66610.1488 | 20.6491 | STAGE -1 : BQ of M/s CTR (Ref: SRM.FP:1956297:q; dt: 12.03.2019. cost committee decide to knockdown BQ of M/s CTR by 10% with reference to Order copy of NIFPS sys at RSP dt. 15.01.18. Escalation factor of 1.01 till Jan 2021. INITIAL PKG COST SEPT 2021: Cost committee for pkg cost on 07.09.2021 decided to remove the 10% knockdown done during capital cost estimate. Escalation factor of 1.07 has been taken from Feb2021 to Sept 2021. UPDATED INITIAL PKG COST NOV 2021 : only ITC portion is updated due to 5 transformers in township area.
1.4 | Supply of pipes & fitting etc. for connection between FEC & oil pit . | set | 5 | 26 | 31 | 26085.9417 | 8.0866
2 | Electrics
2.1 | Relay for mutiplying the contact of Bucholz, PRV, Differential & Master trip signal which will be utilised to actuate the NIFPS system (total 4 nso. Of such relay is envisaged for each NIFPS. Hence total 31x4= 124 nos. such realys is required for 31 nos. of NIFPS) | Nos. | 20 | 104 | 124 | 4731.992 | 5.8677 | STAGE -1 : Engg. Estiamte based on price list (dtd. 01.07.17) of C & S with 25% discount. (Model- CAR2-H). Escalation factor of 1.14 till Jan 2021. INITIAL PKG COST SEPT 2021: Escalation factor of 1.03 has been taken from Feb2021 to July 2021. | Escalation factor of 1.12 has been considered as per WPI (all commodities) from Sept 2021 to June 2022.
2.2 | Control box with Terminal blocks etc. for relays of contact multiplication. (cost is considered 50% of relay cost. Hence for each NIFPS CB cost = 4x Rs. 1000x0.5= Rs. 2000) | nos. | 5 | 26 | 31 | 4814.584 | 1.4925 | STAGE -1 : Engg. Estiamte based on price list (dtd. 01.07.17) of C & S with 25% discount. (Model- CAR2-H). Escalation factor of 1.05 till Jan 2021. INITIAL PKG COST SEPT 2021: Escalation factor of 1.03 has been taken from Feb2021 to July 2021.
2.3 | 100 dia GI Pipe for cabling from trafo to FEC & Signaling box to NIFPS Control box in side the S/S building. @ 25 Mtrs. For each NIFPS. Hence total length of pipe is 31x25=775 mtrs. | mtrs. | 125 | 650 | 775 | 136.1877 | 1.0555 | STAGE -1 : Engg. Estiamte based on price list (dtd. 01.07.17) of C & S with 25% discount. (Model- CAR2-H). Escalation factor of 1.03 till Jan 2021. INITIAL PKG COST SEPT 2021: Escalation factor of 1.16 has been taken from Feb2021 to July 2021.
2.4 | Cable | [6 empty] | 402.8778 | #REF! | #REF!
2.4.1 | supply of 12Cx1.5 sq mm Armoured FRLS copper conductor cable from FEC panel, Signal panel of NIFPS system & CB panel of client to Control Box of NIFPS to be located inside the Sub staion control room (SSCR) .( @ 350 mtrs./ NIFPS= 31x350= 10850 mtrs.) | mtr | 1750 | 9100 | 10850 | 453.6 | 49.2156 | STAGE -1 : Engg. Estimate based on Havvels price catalouge. Aug.' 21 with 25% discount and 5% loading for innner FRLS seath. INITIAL PKG COST SEPT 2021: Cost committee for pkg cost on 07.09.2021 decided to reduce the discount to 20%. | Havvels price catalouge. Aug.' 21 with 20% discount and 5% loading for innner FRLS seath
2.4.2 | supply of 4Cx1.5 sq mm Armoured FRLS copper conductor cable from FEC panel of NIFPS to marshalling box of transformer, from AC & DC source located inside the sub station control room (SSCR) to control box of NIFPS to be located inside SSCR .( @ 200 mtrs./ NIFPS= 31x200= 6200 mtrs.) | mtrs | 500 | 5700 | 6200 | 199.76 | 12.3851 | STAGE -1 : Engg. Estimate based on Havvels price catalouge. Aug.' 21 with 25% discount and 10% loading for innner FRLS seath. INITIAL PKG COST SEPT 2021: Cost committee for pkg cost on 07.09.2021 decided to reduce the discount to 20%. | Havvels price catalouge. July.' 22 with 20% discount and 10% loading for innner FRLS seath & stranding
2.4.3 | Control cable for Auxiliary relay (avr.2Cx 1.5 sq mm. Copper contrl cable @ 8 mtrsfor each relay is envisaged. Hence 8x4=32 mtr for each NIFPS. Hence total 31x32=952 ~ 1000 mrs.) | mtrs | 160 | 840 | 1000 | 133.76 | 1.3376 |  | Havvels price catalouge. July.' 22 with 20% discount and 10% loading for innner FRLS seath & stranding | #REF! | #VALUE!
| Total (Equipment Cost) | [5 empty] | 465.8161 | #REF!
3 | Mandatory Spare
3.1 | Nitrogen Cylinder- 68 Ltr. Capacity | nos. |  |  | 2 | 42622.2908 | 0.85245 | STAGE -1 : BQ of M/s CTR (Ref: SRM.FP:1956297:q; dt: 12.03.2019. INITIAL PKG COST SEPT 2021: Escalation factor of 1.12 has been considered. | Escalation factor of 1.12 has been considered as per WPI (all commodities) from Sept 2021 to June 2022.
3.2 | Set of Hose Pipe | nos. |  |  | 4 | 7166.5799 | 0.28666
3.3 | Heat sensor for fire detector | nos. |  |  | 4 | 5029.1789 | 0.20117
| Total (Spare Cost) | [5 empty] | 1.3403 |  | 467.1564
Total Plant & equipt
CIVIL Work (Equipment foundation)
| Item (Brief description) | Unit | Qty. Outside plant | Qty. Inside plant | Total Qty. | Rate (Rs.) | Amt. (Rs. L) | DSR-2021
1 | Excavation | Cum | 25.8065 | 134.1935 | 160 | 473.3043 | 0.75729 | (2.8.1+ (2.25*0.8)+ (Colum 1.8 of 1.1.2)*0.2) |  | 160
2 | RCC M25 including shuttering | Cum | 5 | 26 | 31 | 8650.4348 | 2.6816 | 5.33.1+1100/sqf for sttering | Rs. 8683.00 should be taken in lieu of Rs.7997.30, mentioned in DSR 2021 for item code 5.33 | 31
3 | PCC | Cum | 0 | 0 |  | 7424.1304 | 0 |  |  | 0
4 | Reinforcement | MT | 0.16129 | 0.83871 | 1 | 78000 | 0.78 | 5.22.6 |  | 1
5 | Water Proofing | Kg | 60 | 312 | 372 | 35 | 0.1302 | DSR code-1213, P. n- 206, Vol-I |  | 372
6 | Plastering (Cement: Sand-1:3, thickness- 6mm) | sq | 0 | 0 |  | 290.6087 | 0 | Code- 13.17, P. no.- 299, Vol-II |  | 0
| Sub Total Civil (Equipment Foundation) | [5 empty] | 4.3491
CIVIL Work (Others)
| Item (Brief description) | Unit | Qty. Outside plant | Qty. Inside plant | Total Qty. | Rate (Rs.) | Amt. (Rs. L) | DSR-2021
| Excavation | Cum | 135.4839 | 704.5161 | 840 | 473.3043 | 3.9758 | (2.8.1+ (2.25*0.8)+ (Colum 1.8 of 1.1.2)*0.2) |  | 840
| RCC M25 including shuttering | Cum | 30.4839 | 158.5161 | 189 | 8650.4348 | 16.3493 | 5.33.1+1100/sqf for sttering |  | 189
| PCC | Cum | 5.4839 | 28.5161 | 34 | 8024.1304 | 2.7282 | 4.5.1 |  | 34
| Reinforcement | MT | 3.0645 | 15.9355 | 19 | 78000 | 14.82 | 5.22.6 |  | 19
| Water Proofing | Kg | 431.6129 | 2244.3871 | 2676 | 35 | 0.9366 | DSR code-1213, P. n- 206, Vol-I |  | 2676
| Plastering (Cement: Sand-1:3, thickness- 6mm) | sq | 22.5806 | 117.4194 | 140 | 290.6087 | 0.40685 | Code- 13.17, P. no.- 299, Vol-II |  | 140
| Sub Total Civil (Others) | [5 empty] | 39.2167
| Structural Work-Building Structure | Unit | Qty. Outside plant | Qty. Inside plant | Total Qty. | Rate (Rs.) | Amt. (Rs. L)
1 | Strl Steel | MT | 2.4194 | 12.5806 | 15 | 85000 | 12.75 | Engg. Estimate |  |  | 0 | Rate same as strl supply and erection
2 | Painting | Lot | 0.16129 | 0.83871 | 1 |  | 1.53 | Engg. Estimate |  |  | 0
| Sub Total Strl. | [5 empty] | 14.28 |  |  |  | 0
|  | with ITC | without ITC | TOTAL
| Equipment | 390.2435 | 75.8133 | 465.8161
| Civil(equpt.) | 3.6477 | 0.70147 | 4.3491
| Civil(others) | 32.8915 | 6.3253 | 39.2167
| Struture(Building) | 10.6935 | 2.0565 | 12.75
Note on E27: Windows User: Addl. 8 mtrs. is added to (160+832) mtrs for rounding oof it to 800 mtrs.
Note on F27: Windows User:

## PKG Cost (hidden)
CONFIDENTIAL
Ref. No.: CET-17(4)/ 4581/2021-181
Date: 03.11.2021
STEEL AUTHORITY OF INDIA LIMITED
BOKARO STEEL PLANT
Installation of Nitrogen Injection system in oil filled power and rectifier transformer of DNW
UPDATED INITIAL PACKAGE COST ESTIMATE
TS NO.: CET/02/BK/4581/TS/EE/01/R=2
|  |  |  | Rs. Crore |  |  |  | 63.3896 | 64.6574
Sl.No. | Description of Item | FC | LC | Final package cost | Updated pkg cost issued in Nov 2021 | Difference | % change | Reason
1 | Design & Engineering | 0 | 0.3641 | 0.3641 | 0.32516 | 0.038937 | 11.97%
2 | Supply of Plant & Equipment Incl. Technological Structures | 0 | 5.6095 | 5.6095 | 4.9626 | 0.64688 | 13.04% | Escalation (43.42 lakh) & latest price list for elec. Cables (10.30 lakh)
3 | Supply of Building steel structures including Sheeting and Glazing |  | 0.18367 | 0.18367 | 0.16438 | 0.019293 | 11.74% | Rate changed from Rs.75000/ton to Rs.85000/ton (Rs. 2 lakh)
4 | Supply of Refractories | 0 | 0 | 0 | 0 | 0
5 | Civil Engineering Work including all related supplies- for equipment foundation |  | 0.050447 | 0.050447 | 0.050405 | 4.1664e-05 | 0.08266%
6 | Civil Engineering Work including all related supplies- Others |  | 0.46276 | 0.46276 | 0.46276 | 0 | 0%
7 | Storage, Handling, Erection of Plant & Equipments & Refractories including Commisioning and PG tests of the facilities |  | 1.0999 | 1.0999 | 0.97305 | 0.12684 | 13.04%
8 | Storage, Handling and Erection of Building Steel Structures |  | 0.033701 | 0.033701 | 0.030161 | 0.00354 | 11.74%
9 | Foreign Supervision charges in India during erection, startup, commissioning and PG test for _____mandays | 0 |  | 0 | 0 | 0
10 | Training charges: (a) For ___________ Foreign mandays, (b) For ___________Indian mandays | 0 | 0 | 0 | 0 | 0
11 | Customs, Port clearance (excluding duties & cess to be paid by Employer) and Inland transportation (for all items quoted in foreign currency) |  | 0 | 0 | 0 | 0
12 | Comprehensive / Transit Storage-cum-erection insurance |  | Included above |  |  | 0
13 | Supply of 2 years O & M spares | 0 | 0.016132 | 0.016132 | 0.014393
14 | Sub-total (1 to 13) | 0 |  | 7.8202 | 6.9829
15 | Purchaser's Scope: | 0 | [7 empty] | 0
i | BCD @7.5% on CIF |  |  | 0 | 0
ii | Social welfare surcharge @ 10% on BCD |  |  | 0 | 0
iii | GST @ 18 % on imported supply |  |  | 0 | 0
iv | Income Tax @ 10 % grossed-up on imported services |  |  | 0 | 0
v | GST @ 18 % on imported Services & IT |  |  | 0 | 0
|  | 0 |  | 0 | 0
15 | Total Package Cost | 0 |  | 7.8202 | 6.9829
16 | Input tax credit (ITC) for GST |  |  | 0.94883 | 0.84057
17 | Package cost net of ITC for GST | 0 |  | 6.8713 | 6.1423 | 0.72901 | 11.87%
| 1 EURO=Rs. | 75 | 13.05.2016
| 1 USD=Rs. | 68 | -do
| Erection for imported supply | 6%
| Erection for plant & equipt | 20% |  | Cost committee on 07.09.21 decided to take erection as 20%
| Erection for structure | 20% | [5 empty] | Rs. Cr.
| Erection for refractory | 12%
| CD | 7.5%
Sl.No | Item | Basic cost |  | Indigenous supplies & services
|  | Imp. Items | Indg. Items | GST Ind. supply | GST Ind. services | Inland Frt & Ins | Purchaser's scope | Total
| 5% |  | 5% | 18% | 18% | 18%
1 | Design & Engineering | 0 | 0.30856 |  | 0.05554 |  |  | 0.3641
2 | Supply of Plant & eqpt with ITC (inside plant) |  | 3.9024 | 0.70244 | 0.014049 | 0.078049 |  | 4.697
| Supply of Plant & eqpt without ITC (outside plant) |  | 0.75813 | 0.13646 | 0.0027293 | 0.015163 |  | 0.91249
3 | Supply of SW |  |  | 0 |  | 0 |  | 0
4 | Supply of Tech Strs |  |  | 0 | 0 | 0 |  | 0
5 | Building structures with ITC |  | 0.1428 | 0.025704 | 0.0023134 | 0.012852 |  | 0.18367
6 | Refractories |  |  | 0 | 0 | 0 |  | 0
7 | Civil work incl. all related supplies -Equipment foundation with ITC ((inside plant)) |  | 0.036477 |  | 0.0065658 |  |  | 0.043042
| Civil work incl. all related supplies -Equipment foundation without ITC (outside plant) |  | 0.0070147 |  | 0.0003896 |  |  | 0.0074043
| Civil work incl. all related supplies - Others |  | 0.39217 |  | 0.07059 |  |  | 0.46276
8 | Erection of Plant & eqpt |  | 0.93211 |  | 0.16778 |  |  | 1.0999
| Erection of Tech Strs, |  | 0 |  | 0 |  |  | 0
| Erection of Refractories |  | 0 |  | 0 |  |  | 0
| Dismantling |  |  |  | 0 |  |  | 0
| Erection of build. strs |  | 0.02856 |  | 0.0051408 |  |  | 0.033701
9 | Foreign Supervision | [6 empty] | 0
10 | Training | [6 empty] | 0
11 | a) Ocean Freight | 0 | [5 empty] | 0
| b) Custom, port clearance & inland trasport |  |  |  | 0 | 0 | 0 | 0
12 | Supply of 2 years O&M spares |  | 0.013403 | 0.0024125 | 4.825e-05 | 0.00026806 |  | 0.016132
13 | Purchaser's scope | [5 empty] | 0 | 0
| Total | 0 | 6.5217 | 0.86702 | 0.32515 | 0.10633 | 0 | 7.8202
| ITC for GST |  |  | 0.70485 | 0.24398 |  | 0 | 0.94883
6.8713
0
0

## ESCLATION (hidden)
For NIFPS system
Manufacture of electric motors, generators, transformers and electricity distribution and control apparatus
|  |  | Month/Year | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
|  |  | 2021 | Manufacture of electric motors, generators, transformers and electricity distribution and control apparatus Jan: 115.2
|  |  | 2019 | 108.2 | 108.6 | 109.1 | 111 | 109.7 | 107.5 | 108.4 | 108 | 107.7 | 108.5 | 111.2 | 108.2
1.0559
|  |  | 2022 | Manufacture of electric motors, generators, transformers and electricity distribution and control apparatus Jan: 121.6; Manufacture of electric motors, generators, transformers and electricity distribution and control apparatus Feb: 121.2; Manufacture of electric motors, generators, transformers and electricity distribution and control apparatus Mar: 122.2; Manufacture of electric motors, generators, transformers and electricity distribution and control apparatus Apr: 123.3; Manufacture of electric motors, generators, transformers and electricity distribution and control apparatus May: 121.3; Manufacture of electric motors, generators, transformers and electricity distribution and control apparatus Jun: 124.2
|  |  | 2021 | 115.3 | 116.6 | 119.1 | 117.6 | 116.2 | 118 | 118.8 | 119.5 | 119.3 | 120.6 | 120.3 | 120.8
|  |  | 2021 | Manufacture of electric motors, generators, transformers and electricity distribution and control apparatus Jan: 115.7; Manufacture of electric motors, generators, transformers and electricity distribution and control apparatus Feb: 116.9; Manufacture of electric motors, generators, transformers and electricity distribution and control apparatus Mar: 118.9; Manufacture of electric motors, generators, transformers and electricity distribution and control apparatus Apr: 118.6; Manufacture of electric motors, generators, transformers and electricity distribution and control apparatus May: 118.8; Manufacture of electric motors, generators, transformers and electricity distribution and control apparatus Jun: 119.3; Manufacture of electric motors, generators, transformers and electricity distribution and control apparatus Jul: 118.9
|  |  | 2019 | 112.1 | 112 | 112.3 | 112.7 | 112.2 | 110.9 | 111.2 | 110.9 | 110.6 | 111.2 | 112.1 | 110.8
|  |  | 1.0321 | Manufacture of electric motors, generators, transformers and electricity distribution and control apparatus Jan: 1.0588; Manufacture of electric motors, generators, transformers and electricity distribution and control apparatus Feb: 1.0411
For ERW Pipe
Steel pipes, tubes & poles
|  |  | Month/Year | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
|  |  | 2022 | Jan: 132.2; Feb: 133.2; Mar: 137.8; Apr: 140.4; May: 139.6; Jun: 139.5
|  |  | 2021 | 116.2 | 116.8 | 118.5 | 121.1 | 122.8 | 125.4 | 126.4 | 127.7 | 130.2 | 131.2 | 131.6 | 132.6
|  |  | 2021 | Jan: 115.8; Feb: 116.8; Mar: 118.5; Apr: 121.1; May: 122.8; Jun: 125.1; Jul: 124.8
|  |  | 2019 | 115.1 | 114.4 | 114.3 | 115.3 | 115.4 | 114.6 | 114.6 | 114.3 | 112.3 | 112.8 | 112.7 | 111.6
|  | Stage-1 | 1.0131
|  | Pkg cost | 1.0685
|  | Final pkg cost | 1.0714
HR plate as per Steel mint
|  |  | Month/Year | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
|  |  | 2021 | Jan: 134.7; Feb: 137.5; Mar: 141.4; Apr: 140.4; May: 146.4; Jun: 150; Jul: 146.8
1.0898 | bar: Jan to Jul
Electrical relay/conductor
|  |  | Month/Year | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
|  |  | 2022 | Jan: 136.7; Feb: 135.3; Mar: 141.3; Apr: 145.3; May: 143.2; Jun: 141
|  |  | 2021 | 117.7 | 115 | 126.8 | 120.4 | 121 | 122.4 | 120.9 | 126.8 | 127.5 | 130.8 | 135.3 | 130.9
|  |  | 2021 | Jan: 118.5
|  |  | 2017 | 103.1 | 103.6 | 104 | 104.4 | 103 | 104.9 | 104.4 | 104.3 | 104.2 | 104.8 | 104.4 | 106
|  | Stage-1 | 1.1361
|  |  | 2021 | Jan: 117.7; Feb: 115; Mar: 126.8; Apr: 120.4; May: 121; Jun: 121.5; Jul: 121.2
|  | Pkg cost | 1.0297
|  | Final pkg cost | 1.1059
FOR CONTROL BOX | FOR NIFPS SYSTEM |  | MANUFACTURE OF ELECTRICAL EQUIPMENT
|  |  | Month/Year | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
|  |  | 2022 | Jan: 124.8; Feb: 124.8; Mar: 126; Apr: 127.4; May: 126.4; Jun: 128.3
|  |  | 2021 | 115.7 | 116.9 | 118.9 | 118.6 | 118.8 | 120.2 | 121.1 | 121.8 | 122 | 123.2 | 123.2 | 123.6
|  |  | 2021 | Jan: 116
|  |  | 2019 | 112.1 | 112 | 112.3 | 112.7 | 112.2 | 110.9 | 111.2 | 110.9 | 110.6 | 111.2 | 112.1 | 110.8
|  |  | 2018 | 110.1 | 109.4 | 110.1 | 110.9 | 110.8 | 111.8 | 111.5 | 111.8 | 111.5 | 111.7 | 112.1 | 112.2
|  | Stage-1 | 1.046
|  |  | 2021 | Jan: 115.7; Feb: 116.9; Mar: 118.9; Apr: 118.6; May: 118.8; Jun: 119.3; Jul: 118.9
|  | Pkg cost | 1.0277 | Jan: vendre; Feb: tri-parulex; Mar: CTR/tectonicus; Apr: PO | 1.0799
|  | Final pkg cost | 1.0516 | Jan: 1.1653; Feb: 1.1476; Mar: 1.1653; Apr: 1.1653; Jun: 1.038
Galvanized iron pipes
|  |  | Month/Year | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
|  | 1.056 | 2022 | Jan: 137.4; Feb: 137.4; Mar: 136.7; Apr: 140.5; May: 146.7; Jun: 141.5
|  |  | 2021 | 119.2 | 116.4 | 119 | 123.8 | 136 | 137.7 | 134.7 | 133.2 | 134 | 137 | 140.3 | 138.7
|  |  | 2021 | Jan: 115.1
|  |  | 2019 | 114.8 | 113.1 | 114.1 | 114.3 | 114.3 | 113.7 | 113.6 | 112 | 111.6 | 111 | 110.4 | 109.5
|  | Stage-1 | 1.0277
|  |  | 2021 | Jan: 119.2; Feb: 116.4; Mar: 119; Apr: 123.8; May: 136; Jun: 129.8; Jul: 134.7
|  | Pkg cost | 1.1572
|  | Final pkg cost | 1.056
Copper wire
|  |  | Month/Year | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
|  |  | 2021 | Jan: 129.9
|  |  | 2018 | 106.7 | 106.6 | 107.6 | 107.5 | 110.1 | 110 | 109.9 | 107.6 | 107.9 | 108.7 | 108.9 | 109
|  | Stage-1 | 1.1917
|  |  | 2021 | Jan: 127.2; Feb: 131; Mar: 142.7; Apr: 144.6; May: 151.1; Jun: 152.5; Jul: 151.9
|  | Pkg cost | 1.1595
Electric Wires & Cables
|  |  | Month/Year | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
|  |  | 2021 | Jan: 119.2
|  |  | 2018 | 110.1 | 110.1 | 111.4 | 111.4 | 112.5 | 113.6 | 113 | 113 | 112.5 | 113.2 | 113.4 | 113.4
|  | Stage-1 | 1.0511
|  |  | 2021 | Jan: 129.4; Feb: 132.6; Mar: 137.8; Apr: 138.4; May: 144.1; Jun: 144.1; Jul: 144.1
|  | Pkg cost | 1.0867
For spares
|  |  | Month/Year | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
|  |  | 2021 | Jan: 126.5; Feb: 128.1; Mar: 129.9; Apr: 132; May: 132.9; Jun: 133.7; Jul: 134.5
|  |  | 2019 | 119.2 | 119.5 | 119.9 | 121.1 | 121.6 | 121.5 | 121.3 | 121.5 | 121.3 | 122 | 122.3 | 123
|  |  | 2018 | 116 | 116.1 | 116.3 | 117.3 | 118.3 | 119.1 | 119.9 | 120.1 | 120.9 | 122 | 121.6 | 119.7
1.1218
1.1595
WPI- all commodites
|  |  | Month/Year | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
|  |  | 2022 | Jan: 143.8; Feb: 145.3; Mar: 148.9; Apr: 152.3; May: 154; Jun: 154
|  |  | 2021 | 126.5 | 128.1 | 129.9 | 132 | 132.9 | 133.7 | 135 | 136.2 | 137.4 | 140.7 | 143.7 | 143.3
|  |  | 2019 | 119.2 | 119.5 | 119.9 | 121.1 | 121.6 | 121.5 | 121.3 | 121.5 | 121.3 | 122 | 122.3 | 123
|  |  | 2018 | 116 | 116.1 | 116.3 | 117.3 | 118.3 | 119.1 | 119.9 | 120.1 | 120.9 | 122 | 121.6 | 119.7
1.1208
|  |  | 1.3276 | Jan: 1.3242
|  | Vendre | 1.3242
|  | Tri -parulex | 1.2675
|  | Tectonius/CTR | 1.2844

## BOQ_ITC_UP (hidden)
| STEEL AUTHORITY OF INIDA LIMITED | [9 empty] | ENGG. ESTIMATE
| BOKARO STEEL PLANT | [9 empty] | 60.1516
Installation of Nitrogen Injection system in oil filled power and rectifier transformer of DNW, BSL
ASSIGN. NO.- 02/DE/4581
| NIFPS for 31 Nos. of oil filled power & rectifier transformers of DNW, BSL | Unit |  |  | Qty. | Unit Rate (LC)- Rs.L | Amt. (Rs. L) LC | Amt. (Rs. L) LC
| Mechanical equipment | [5 empty] | BQ of M/s AIF Engg. Pvt. Ltd. Dtd. 24.03.2017 (Rs. 95 L/unit) | BQ of M/s Simplicity dtd. 23.02.2016 (Rs. 125 L/ unit) | Basis / Remarks
| 2 nos. of Electrical curing furnace | nos. |  |  | 2 | 95 | 190 | 250
| MS pipe for exhaust fumes | t |  |  | 10 | 0.75 | 7.5 | 7.5 | Engg. Est.
Electrics
| NIFPS for 31 Nos. of oil filled power & rectifier transformers of DNW, BSL | Unit | Qty. Outside plant | Qty. Inside plant | Total Qty. | Rate (Rs.) | Amt. (Rs. L) | Remark |  | Outside plant
A-1 | Equipment | [8 empty] | Escalation factor till last capital cost Feb 2021- Up to Jan 2021 | Escalation factor till last capital cost Feb 2021- from Feb 2021 to July 2021
1 | NIFPS System | [7 empty] | Esclation factor | 1.06
1.1 | supply of system equipmentFEC, 30 mtrs. Fire Survival Cable, Control Box, Fire detector, signal Box & TCIV Suitable for upto 8 MVA, 11kV/ 6.6 kV transformers with retrofitting | nos. | 0 | 24 | 24 | 1045090.9213 | 250.8218 | BQ of M/s CTR (Ref: SRM.FP:1956297:q; dt: 12.03.2019 | cost committee decide to knockdown BQ of M/s CTR by 10% with reference to Order copy of NIFPS sys at RSP dt. 15.01.18 | Escalation factor of 1.06 has been considered as per https://eaindustry.nic.in/ during updated capital cost till Jan 2021. | Escalation factor of 1.03 has been taken from Feb2021 to Sept 2021. | Cost committee for pkg cost on 07.09.2021 decided to remove the 10% knockdown done during capital cost estimate.
1.2 | supply of system equipmentFEC, 30 mtrs. Fire Survival Cable, Control Box, Fire detector, signal Box & TCIV Suitable for above 8MVA and upto 15 MVA, 132/11kV kV transformers with retrofitting | nos. | 5 | 2 | 7 | 1078315.0959 | 75.4821 | BQ of M/s CTR (Ref: SRM.FP:1956297:q; dt: 12.03.2019 | cost committee decide to knockdown BQ of M/s CTR by 10% with reference to Order copy of NIFPS sys at RSP dt. 15.01.18 | Escalation factor of 1.06 has been considered as per https://eaindustry.nic.in/ during updated capital cost till Jan 2021. | Escalation factor of 1.03 has been taken from Feb2021 to Sept 2021. | Cost committee for pkg cost on 07.09.2021 decided to remove the 10% knockdown done during capital cost estimate.
1.3 | Supply of ERW Class "C" pipes with support &fitting etc. for connection between Transformer & FEC | set | 5 | 26 | 31 | 59430.0938 | 18.4233 | BQ of M/s CTR (Ref: SRM.FP:1956297:q; dt: 12.03.2019 |  | Escalation factor of 1.01 has been considered as per https://eaindustry.nic.in/ during updated capital cost till Jan 2021. | Escalation factor of 1.07 has been taken from Feb2021 to Sept 2021.
1.4 | Supply of pipes & fitting etc. for connection between FEC & oil pit . | set | 5 | 26 | 31 | 23282.4658 | 7.2176 | BQ of M/s CTR (Ref: SRM.FP:1956297:q; dt: 12.03.2019 |  | Escalation factor of 1.01 has been considered as per https://eaindustry.nic.in/ during updated capital cost till Jan 2021. | Escalation factor of 1.07 has been taken from Feb2021 to Sept 2021.
2 | Electrics
2.1 | Relay for mutiplying the contact of Bucholz, PRV, Differential & Master trip signal which will be utilised to actuate the NIFPS system (total 4 nso. Of such relay is envisaged for each NIFPS. Hence total 31x4= 124 nos. such realys is required for 31 nos. of NIFPS) | Nos. | 20 | 104 | 124 | 4221.9201 | 5.2352 | Engg. Estimate | Based on price list (dtd. 01.07.17)of C & S with 25% discount. (Model- CAR2-H) | Escalation factor of 1.14 has been considered as per https://eaindustry.nic.in/ during updated capital cost till Jan 2021. | Escalation factor of 1.03 has been taken from Feb2021 to Sept 2021.
2.2 | Control box with Terminal blocks etc. for relays of contact multiplication. (cost is considered 50% of relay cost. Hence for each NIFPS CB cost = 4x Rs. 1000x0.5= Rs. 2000) | nos. | 5 | 26 | 31 | 4295.6093 | 1.3316 | Engg. Estimate |  | Escalation factor of 1.05 has been considered as per https://eaindustry.nic.in/ during updated capital cost till Jan 2021. | Escalation factor of 1.03 has been taken from Feb2021 to Sept 2021.
2.3 | 100 dia GI Pipe for cabling from trafo to FEC & Signaling box to NIFPS Control box in side the S/S building. @ 25 Mtrs. For each NIFPS. Hence total length of pipe is 31x25=775 mtrs. | mtrs. | 125 | 650 | 775 | 121.5077 | 0.94168 | Engg. Estimate |  | Escalation factor of 1.03 has been considered as per https://eaindustry.nic.in/ during updated capital cost till Jan 2021. | Escalation factor of 1.16 has been taken from Feb2021 to Sept 2021.
2.4 | Cable
2.4.1 | supply of 12Cx1.5 sq mm Armoured FRLS copper conductor cable from FEC panel, Signal panel of NIFPS system & CB panel of client to Control Box of NIFPS to be located inside the Sub staion control room (SSCR) .( @ 350 mtrs./ NIFPS= 31x350= 10850 mtrs.) | mtr | 1750 | 9100 | 10850 | 378 | 41.013 | Engg. Estimate | Havvels price catalouge. Aug.' 21 with 25% discount and 5% loading for innner FRLS seath | Cost committee for pkg cost on 07.09.2021 decided to reduce the dscount to 20%.
2.4.2 | supply of 4Cx1.5 sq mm Armoured FRLS copper conductor cable from FEC panel of NIFPS to marshalling box of transformer, from AC & DC source located inside the sub station control room (SSCR) to control box of NIFPS to be located inside SSCR .( @ 200 mtrs./ NIFPS= 31x200= 6200 mtrs.) | mtrs | 500 | 5700 | 6200 | 169.84 | 10.5301 | Engg. Estimate | Havvels price catalouge. Aug.' 21 with 25% discount and 10% loading for innner FRLS seath & stranding | Cost committee for pkg cost on 07.09.2021 decided to reduce the dscount to 20%.
2.4.3 | Control cable for Auxiliary relay (avr.2Cx 1.5 sq mm. Copper contrl cable @ 8 mtrsfor each relay is envisaged. Hence 8x4=32 mtr for each NIFPS. Hence total 31x32=952 ~ 1000 mrs.) | mtrs | 160 | 840 | 1000 | 110 | 1.1 | Engg. Estimate | Havvels price catalouge. Aug.' 21 with 25% discount and 10% loading for innner FRLS seath & stranding | Cost committee for pkg cost on 07.09.2021 decided to reduce the dscount to 20%.
| Total (Equipment Cost) | [5 empty] | 412.0964
3 | Mandatory Spare
3.1 | Nitrogen Cylinder- 68 Ltr. Capacity | nos. |  |  | 2 | 38027.9399 | 0.76056 | BQ of M/s CTR (Ref: SRM.FP:1956297:q; dt: 12.03.2019 |  | Escalation factor of 1.12 has been considered.
3.2 | Set of Hose Pipe | nos. |  |  | 4 | 6394.0784 | 0.25576
3.3 | Heat sensor for fire detector | nos. |  |  | 4 | 4487.0726 | 0.17948
| Total (Spare Cost) | [5 empty] | 1.1958 |  | 413.2922
Total Plant & equipt
CIVIL Work (Equipment foundation)
| Item (Brief description) | Unit |  |  | Qty. | Rate (Rs.) | Amt. (Rs. L) | DSR-2021
1 | Excavation | Cum | 25.8065 | 134.1935 | 160 | 473.3043 | 0.75729 | (2.8.1+ (2.25*0.8)+ (Colum 1.8 of 1.1.2)*0.2) |  | 160
2 | RCC M25 including shuttering | Cum | 5 | 26 | 31 | 8650.4348 | 2.6816 | 5.33.1+1100/sqf for sttering | Rs. 8683.00 should be taken in lieu of Rs.7997.30, mentioned in DSR 2021 for item code 5.33 | 31
3 | PCC | Cum | 0 | 0 |  | 7424.1304 | 0 |  |  | 0
4 | Reinforcement | MT | 0.16129 | 0.83871 | 1 | 78000 | 0.78 | 5.22.6 |  | 1
5 | Water Proofing | Kg | 60 | 312 | 372 | 35 | 0.1302 | DSR code-1213, P. n- 206, Vol-I |  | 372
6 | Plastering (Cement: Sand-1:3, thickness- 6mm) | sq | 0 | 0 |  | 290.6087 | 0 | Code- 13.17, P. no.- 299, Vol-II |  | 0
| Sub Total Civil (Equipment Foundation) | [5 empty] | 4.3491
CIVIL Work (Others)
| Item (Brief description) | Unit |  |  | Qty. | Rate (Rs.) | Amt. (Rs. L) | DSR-2021
| Excavation | Cum | 135.4839 | 704.5161 | 840 | 473.3043 | 3.9758 | (2.8.1+ (2.25*0.8)+ (Colum 1.8 of 1.1.2)*0.2) |  | 840
| RCC M25 including shuttering | Cum | 30.4839 | 158.5161 | 189 | 8650.4348 | 16.3493 | 5.33.1+1100/sqf for sttering |  | 189
| PCC | Cum | 5.4839 | 28.5161 | 34 | 8024.1304 | 2.7282 | 4.5.1 |  | 34
| Reinforcement | MT | 3.0645 | 15.9355 | 19 | 78000 | 14.82 | 5.22.6 |  | 19
| Water Proofing | Kg | 431.6129 | 2244.3871 | 2676 | 35 | 0.9366 | DSR code-1213, P. n- 206, Vol-I |  | 2676
| Plastering (Cement: Sand-1:3, thickness- 6mm) | sq | 22.5806 | 117.4194 | 140 | 290.6087 | 0.40685 | Code- 13.17, P. no.- 299, Vol-II |  | 140
| Sub Total Civil (Others) | [5 empty] | 39.2167
Structural Work-Building Structure
1 | Strl Steel | MT | 2.4194 | 12.5806 | 15 | 75000 | 11.25 |  |  |  | 0 | Rate same as strl supply and erection
2 | Painting | Lot | 0.16129 | 0.83871 | 1 |  | 1.53 |  |  |  | 0
| Sub Total Strl. | [5 empty] | 12.78 |  |  |  | 0
|  | with ITC | without ITC | TOTAL
| Equipment | 345.1937 | 67.1174 | 412.3111
| Civil(equpt.) | 3.6477 | 0.70147 | 4.3491
| Civil(others) | 32.8915 | 6.3253 | 39.2167
| Struture(Building) | 9.4355 | 1.8145 | 11.25
Note on E27: Windows User: Addl. 8 mtrs. is added to (160+832) mtrs for rounding oof it to 800 mtrs.
Note on F27: Windows User:

## UPDATED PBE
CONFIDENTIAL
Annexure-I
Ref. No.: CET-17(4)/ 4581/2023-02
Date: 11.01.2023
STEEL AUTHORITY OF INDIA LIMITED
BOKARO STEEL PLANT
Installation of Nitrogen Injection system in oil filled power and rectifier transformer of DNW (02/de/4581)
UPDATED PRICE BID EVALUATION
Comparative statement of the quoted prices w.r.t. estimate
₹. (In Crore)
Sl.No. | Description of Item | ESTIMATE | TECTONICUS SERVICES INDIA PRIVATE LIMITED -MAHARASTRA |  | TRI PARULEX FIRE PROTECTION SYSTEMS - Uttar Pradesh
|  |  | As per Updated Price Schedule sent by BSL vide email dt:11.01.2023 | As per Price Schedule sent by BSL vide email dt:01.09.2022 | As per Price Schedule sent by BSL vide email dt:01.09.2022
|  | Total | Total | Total | Total
1 | Design & Engineering | 0.34705 | 0.090756 | 1.0608
2 | Supply of Plant & Equipment Incl. Technological Structures | 5.3196 | 1.13
3 | Supply of Building steel structures including Sheeting and Glazing | 0.18367 | 0.09794
4 | Supply of Refractories | 0 | 0
5 | Civil Engineering Work including all related supplies- for equipment foundation | 0.050428 | 0.01829 | 0.31093
6 | Civil Engineering Work including all related supplies- Others | 0.46276 | 0.12803
7 | Storage, Handling, Erection of Plant & Equipments & Refractories including Commisioning and PG tests of the facilities | 1.0431 | 0.24874 | 0.28532
8 | Storage, Handling and Erection of Building Steel Structures | 0.033701 | 0.010974
9 | Foreign Supervision charges in India during erection, startup, commissioning and PG test for _____mandays | 0 | 0
10 | Training charges: (a) For ___________ Foreign mandays, (b) For ___________Indian mandays. | 0 | 0.0097384
11 | Customs, Port clearance (excluding duties & cess to be paid by Employer) and Inland transportation (for all items quoted in foreign currency) | 0 | 0
12 | Comprehensive / Transit Storage-cum-erection insurance | 0 | 0.022692 | 0.02269
13 | Supply of 2 years O & M spares | 0.016132 | 0.01534 | 0.13535
14 | Sub-total (1 to 13) | 7.4564 | 1.7725 | 1.8151
15 | Input tax credit (ITC) for GST | 0.90066 | 0.23423 | 0.27688
16 | Package cost net of ITC for GST (14-15) | 6.5557 | 1.5382 | 1.5382 | 1.5438
17 | Variance w.r.t estimate |  | -76.54% | -76.54% | -76.45%
18 | Ranking |  | L1 | L1 | L2