## BOQ_removed by TFL (hidden)
STEEL AUTHORITY OF INDIA LIMITED
BOKARO STEEL PLANT
Installation of FDA in all substations and cable cellar and CCTV surveillance with Central Control Room
02/DE/4750
PRICE (in Lakhs)
SL. No. | Description Name of item, specification | Unit | Qty. | K.K Engineering Works- Dated 01.12.2021 |  | Johnson Controls Dated 30.11.2021 |  |  | E-Square Dated 12.06.2023
|  |  |  | Unit Price (in INR) | Total Price (in Lakhs) | Unit Price (in INR) | Total Price (in Lakhs) |  | Unit Price (in INR) | Total Price (in Lakhs)
I | Equipment
1 | Process, Control & Automation (PC&A)
1.A | Beam Detector with necessary power supply unit | Nos. | 110 | 45778 | 50.3558 | 110022 | 121.0242 | Escalation factor of 1.07 considered from Dec2021 to June 2022 as per WPI (All commodites); 2% ESCALATION FROM June 2022 to JUNE 2023 | 101120 | 111.232
1.B | Multicriteria Detector | Nos. | 400 | 3000 | 12 | 4413 | 17.652 |  | 4325 | 17.3
1.C | LHS cable | Mtr. | 20000 | 507 | 101.4 | 346 | 69.2 |  | 485 | 97
1.D | Analogue controller for LHS cable | Nos. | 46 | 176485 | 81.1831 | 150000 | 69 |  | 97000 | 44.62
1.E | MCP | Nos. | 190 | 3866 | 7.3454 | 4610 | 8.759 |  | 4082 | 7.7558
1.F | Hooter | Nos. | 190 | 5315 | 10.0985 | 5487 | 10.4253 |  | 3945 | 7.4955
1.G | Control Module | Nos. | 60 | 3994 | 2.3964 | 3432 | 2.0592 |  | 3120 | 1.872
1.H | Monitor Module | Nos. | 60 | 3994 | 2.3964 | 2941 | 1.7646 |  | 2250 | 1.35
1.F | Relay Module | Nos. | 60 | 3996 | 2.3976 | 3432 | 2.0592 |  | 3120 | 1.872
1.I | Fire Alarm Panel | Nos. | 46 | 254675 | 117.1505 | 350419 | 161.1927 |  | 183500 | 84.41
1.J | Network Repeater Panel | Nos. | 3 | 124932 | 3.748 | 218559 | 6.5568 |  | 232000 | 6.96
1.K | Graphic Software | Nos. | 1 | 172900 | 1.729 | 282080 | 2.8208 |  | 0 | 0
1.L | PC base monitoring station | Nos. | 1 | 78500 | 0.785 | 310288 | 3.1029 |  | 379500 | 3.795
1.M | FRLS Cable | Mtr. | 2500 | 92 | 2.3 | 108 | 2.7 |  | 67 | 1.675
1.N | FO Cable | Mtr. | 1000 | 35 | 0.35 | 83 | 0.83 |  | 97 | 0.97
1.O | Chair | Nos. | 4 | 6000 | 0.24 | 17600 | 0.704 |  | 6500 | 0.26
1.P | Table | Nos. | 4 | 10000 | 0.4 | 27500 | 1.1 |  | 10500 | 0.42
| Sub-total (PC&A) |  |  |  | #REF! |  | 480.9507 |  |  | 388.9873
2 | Computer & Information Technology (C&IT) | [6 empty] | #REF!
SL. No. | Description Name of item, specification | Unit | Qty. | K.K Engineering Works- Dated 01.12.2021 |  | Johnson Controls Dated 30.11.2021 |  |  | E-Square Dated 09.06.2023
|  |  |  | Unit Price (in INR) | Total Price (in Lakhs) | Unit Price (in INR) | Total Price (in Lakhs) |  | Unit Price (in INR) | Total Price (in Lakhs)
2.A | IP based bullet type CCTV camera | Nos. | 120 | 41000 | 49.2 | 64000 | 76.8 | Escalation factor of 1.07 considered from Dec2021 to June 2022 as per WPI (All commodites) 2% ESCALATION FROM June 2022 to JUNE 2023 | 91350 | 109.62
2.B | NVR/VMS | Nos. | 1 | 1264000 | 12.64 | 1464320 | 14.6432 |  | 2400000 | 24
2.C | 60 TB Storage Server | Lot | 1 | 950000 | 9.5 | 691505 | 6.915 |  | 0 | 0
2.D | PC based monitoring station | Nos. | 2 | 78000 | 1.56 | 120000 | 2.4 |  | 97000 | 1.94
2.E | 8 port POE with 2 SFP port | Nos. | 56 | 18500 | 10.36 | 18500 | 10.36 |  | 110000 | 61.6
2.F | 24 port switch with 4 SFP port | Nos. | 2 | 34500 | 0.69 | 34500 | 0.69 |  | 546000 | 10.92
2.G | 9 U Rack | Nos. | 56 | 8500 | 4.76 | 8500 | 4.76 |  | 7200 | 4.032
2.H | 42 U Rack | Nos. | 1 | 44500 | 0.445 | 44500 | 0.445 |  | 70000 | 0.7
2.I | 52 inch LED monitor | Nos. | 4 | 55000 | 2.2 | 55000 | 2.2 |  | 125000 | 5
2.J | Laser Jet Printer | Nos. | 1 | 18500 | 0.185 | 18500 | 0.185 |  | 69000 | 0.69
2.K | UTP cable | Mtr. | 3000 | 26 | 0.78 | 26 | 0.78 |  | 19.5 | 0.585
| Sub-total ( C&IT) |  |  |  | #REF! |  | 120.1782 |  |  | 219.087
3 | Electrical | [5 empty] | #REF!
SL. No. | Description Name of item, specification | Unit | Qty. | Unit Rate | Price (in Lakhs) | Basis
3.A | Standalone UPS of 1 kVA capacity , 30 min battery with backup SMF VRLA battery, input/output -1 ph, rack etc-56 nos. (model Liebert GXT MT+ CX 1 kVA Long Backup UPS System) | no | 56 | 32000 | 17.92 | BQ of M/s Fuji dated 14.06.2023
3.B | 15/5A (4 nos.) distritubion board for each UPS | no | 56 | 1000 | 0.56 | Engg estimate based on cost database
3.C | Parallel redundant 2X3 KVA UPS system, 30 min battery back up with ACDB | no | 1 | 1065000 | 10.65 | BQ of M/s Fuji dated 14.06.2023
3.D | Power/ control junction boxes (1 no each substation= 57no) | set | 57 | 1500 | 0.855 | Engg estimate based on cost database
| Illumination system in Central control room with LED lights, wall mounted fans, SDBs, battery operated emergency light, DB for split AC units etc | Lot | 1 | 100000 | 1 | Engg estimate based on cost database
3.E | Earthing protection system and other associated earthing material at 57 substations | set | 57 | 1000 | 0.57 | Engg estimate based on executed project in BSL
3.F | LT Power and Control Cable etc. | Lot | 1 | 1095000 | 10.95 | List price of M/s Havells Jan 23 with 20% discount
| Sub-total(Electrical) |  |  |  | 42.505 | 31.9927
4 | Utility
4.A | Split type AC | Nos. | 2 | 56990 | 1.1398 | List Price of M/s Bluestar from Website dated 16.06.2023
| Sub-total(Utility) |  |  |  | 1.1398
| Total Equipment Cost |  |  |  | #REF! |  |  |  |  | 592.8472
| Equipment / items | Unit | Qty./ Weight | Rate
II | Dismantling
| Dismantling of existing dead panels in Existing Telemetry room of MSDS-1 in Central Control Room | T | 10 | 8000 | 0.8 | Engineering Estimate | 0.6 | 0.2
| Total Cost of Dismantling |  |  |  | 0.8
[8 empty] | Total increase in basic cost |  | 0
| Description of Civil works | Unit | Qty. | Rate | Amount (in Lakh) | DSR-2021 Item No. |  |  |  | 0
III | Civil Work
1 | Other than Equipment Foundation
| Dismatling of loose plaster and Patch Plastering | Sqm | 51.25 | 415.6522 | 0.21302 | 14.1.2
| Removal of the existing paint of both the rooms and repainting with acrylic emulsion paints (2 coats) after necessary surface preparation and providing cement based putty | Sqm | 205 | 222.8261 | 0.45679 | 13.88+13.82.2+13.80
| Removal of existing windows and providing new powder coated aluminium framed windows with shutter and glazing of minimum thickness of 5mm | Sqm | 7.2 | 6744.0435 | 0.48557 | 15.57+4*21.1.1.2+8*21.1.2.2+21.3.2
| Hacking of existing damaged flooring and making good of the same as per the existing finish | Sqm | 8.75 | 476.3913 | 0.041684 | 14.83+11.3.1
| Removal of existing false flooring and providing 2mm thick heavy duty PVC tiles (heavy duty vinyl flooring) on IPS floors and skirting with adhesive etc. | Sqm | 25 | 900 | 0.225 | Item F1 of WO. No. -17(7)/536/02/CONT/Renovation273 dtd.14.12.2016 =Rs. 600/m2+ dismantling of false flooring item no DIS-4 rate Rs300/=
| Dismantling of exiting wall of Telementy room | Sqm | 2.4 | 910.3913 | 0.021849 | 14.4
| Providing new gypsum board false ceiling in existing telemetry room with hangers, Tees and angles | Sqm | 25 | 996.4783 | 0.24912 | 12.45.1
| Total cost of Civil Works for other than Equipment Foundation |  |  |  | 1.693

## BOQ_CC_R2 (hidden)
STEEL AUTHORITY OF INDIA LIMITED
BOKARO STEEL PLANT
Installation of FDA in all substations and cable cellar and CCTV surveillance with Central Control Room
02/DE/4750
PRICE (in Lakhs)
SL. No. | Description Name of item, specification | Unit | Qty. | K.K Engineering Works- Dated 01.12.2021 |  | Johnson Controls Dated 30.11.2021
|  |  |  | Unit Price (in INR) | Total Price (in Lakhs) | Unit Price (in INR) | Total Price (in Lakhs)
I | Equipment
1 | Process, Control & Automation (PC&A)
1.A | Beam Detector with necessary power supply unit | Nos. | 110 | 45778 | 50.3558 | 110022 | 121.0242 | Escalation factor of 1.07 considered from Dec2021 to June 2022 as per WPI (All commodites)
1.B | Multicriteria Detector | Nos. | 400 | 3000 | 12 | 4413 | 17.652
1.C | LHS cable | Mtr. | 20000 | 507 | 101.4 | 346 | 69.2
1.D | Analogue controller for LHS cable | Nos. | 46 | 176485 | 81.1831 | 150000 | 69
1.E | MCP | Nos. | 190 | 3866 | 7.3454 | 4610 | 8.759
1.F | Hooter | Nos. | 190 | 5315 | 10.0985 | 5487 | 10.4253
1.G | Control Module | Nos. | 60 | 3994 | 2.3964 | 3432 | 2.0592
1.H | Monitor Module | Nos. | 60 | 3994 | 2.3964 | 2941 | 1.7646
1.F | Relay Module | Nos. | 60 | 3996 | 2.3976 | 3432 | 2.0592
1.I | Fire Alarm Panel | Nos. | 46 | 254675 | 117.1505 | 350419 | 161.1927
1.J | Network Repeater Panel | Nos. | 3 | 124932 | 3.748 | 218559 | 6.5568
1.K | Graphic Software | Nos. | 1 | 172900 | 1.729 | 282080 | 2.8208
1.L | PC base monitoring station | Nos. | 1 | 78500 | 0.785 | 310288 | 3.1029
1.M | FRLS Cable | Mtr. | 2500 | 92 | 2.3 | 108 | 2.7
1.N | FO Cable | Mtr. | 1000 | 35 | 0.35 | 83 | 0.83
1.O | Chair | Nos. | 4 | 6000 | 0.24 | 17600 | 0.704
1.P | Table | Nos. | 4 | 10000 | 0.4 | 27500 | 1.1
| Sub-total (PC&A) |  |  |  | 425.3119 |  | 480.9507 |  | 524.3965 | 488.5957
2 | Computer & Information Technology (C&IT) | [6 empty] | 404.0463 | 35.8008 | 34.0108
SL. No. | Description Name of item, specification | Unit | Qty. | K.K Engineering Works- Dated 01.12.2021 |  | Johnson Controls Dated 30.11.2021 |  |  |  | 36.9874
|  |  |  | Unit Price (in INR) | Total Price (in Lakhs) | Unit Price (in INR) | Total Price (in Lakhs)
2.A | IP based bullet type CCTV camera | Nos. | 120 | 41000 | 49.2 | 64000 | 76.8 | Escalation factor of 1.07 considered from Dec2021 to June 2022 as per WPI (All commodites)
2.B | NVR/VMS | Nos. | 1 | 1264000 | 12.64 | 1464320 | 14.6432
2.C | 60 TB Storage Server | Lot | 1 | 950000 | 9.5 | 691505 | 6.915
2.D | PC based monitoring station | Nos. | 2 | 78000 | 1.56 | 120000 | 2.4
2.E | 8 port POE with 2 SFP port | Nos. | 56 | 18500 | 10.36 | 18500 | 10.36
2.F | 24 port switch with 4 SFP port | Nos. | 2 | 34500 | 0.69 | 34500 | 0.69
2.G | 9 U Rack | Nos. | 56 | 8500 | 4.76 | 8500 | 4.76
2.H | 42 U Rack | Nos. | 1 | 44500 | 0.445 | 44500 | 0.445
2.I | 52 inch LED monitor | Nos. | 4 | 55000 | 2.2 | 55000 | 2.2
2.J | Laser Jet Printer | Nos. | 1 | 18500 | 0.185 | 18500 | 0.185
2.K | UTP cable | Mtr. | 3000 | 26 | 0.78 | 26 | 0.78
| Sub-total ( C&IT) |  |  |  | 99.0845 |  | 120.1782
3 | Electrical | [5 empty] | 94.1303
SL. No. | Description Name of item, specification | Unit | Qty. | Unit Rate | Price (in Lakhs) | Basis
3.A | Standalone UPS of 1 kVA capacity , 30 min battery with backup SMF VRLA battery, input/output -1 ph, rack etc-56 nos. (model Liebert GXT MT+ CX 1 kVA Long Backup UPS System) | no | 56 | 28305.18 | 15.8509 | Vertiv BQ dated 3.12.21 +3.2 % IEEMA escalation from DEc21 to Aug22
3.B | 15/5A (4 nos.) distritubion board for each UPS | no | 56 | 1000 | 0.56 | Engg estimate based on cost database
3.C | Parallel redundant 2X3 KVA UPS system, 30 min battery back up with ACDB | no | 1 | 789480 | 7.8948 | Vertiv BQ dated 2.12.21+3.2 % IEEMA escalation
3.D | Power/ control junction boxes (1 no each substation= 57no) | set | 57 | 1500 | 0.855 | Engg estimate based on cost database
| Illumination system in Central control room with LED lights, wall mounted fans, SDBs, battery operated emergency light, DB for split AC units etc | Lot | 1 | 100000 | 1 | Engg estimate based on cost database
3.E | Earthing protection system and other associated earthing material at 57 substations | set | 57 | 1000 | 0.57 | Engg estimate based on executed project in BSL
3.F | LT Power and Control Cable etc. | Lot | 1 | 839528 | 8.3953 | List price of M/s Havells July 22 with 20% discount
| Sub-total(Electrical) |  |  |  | 35.126 | 31.9927 | 3.1333 | 2.9766
4 | Utility | [5 empty] | 33.3697
4.A | Split type AC | Nos. | 2 | 58000 | 1.16 | GeM Portal
| Sub-total(Utility) |  |  |  | 1.16 |  | 1.102 | 1.102
| Total Equipment Cost |  |  |  | 532.6483
| Equipment / items | Unit | Qty./ Weight | Rate
II | Dismantling
| Dismantling of existing dead panels in Existing Telemetry room of MSDS-1 in Central Control Room | T | 10 | 8000 | 0.8 | Engineering Estimate | 0.6 | 0.2
| Total Cost of Dismantling |  |  |  | 0.8
[8 empty] | Total increase in basic cost |  | 38.9341
| Description of Civil works | Unit | Qty. | Rate | Amount (in Lakh) | DSR-2021 Item No. |  |  |  | 36.9874
III | Civil Work
1 | Other than Equipment Foundation
| Dismatling of loose plaster and Patch Plastering | Sqm | 51.25 | 415.6522 | 0.21302 | 14.1.2
| Removal of the existing paint of both the rooms and repainting with acrylic emulsion paints (2 coats) after necessary surface preparation and providing cement based putty | Sqm | 205 | 222.8261 | 0.45679 | 13.88+13.82.2+13.80
| Removal of existing windows and providing new powder coated aluminium framed windows with shutter and glazing of minimum thickness of 5mm | Sqm | 7.2 | 6744.0435 | 0.48557 | 15.57+4*21.1.1.2+8*21.1.2.2+21.3.2
| Hacking of existing damaged flooring and making good of the same as per the existing finish | Sqm | 8.75 | 476.3913 | 0.041684 | 14.83+11.3.1
| Removal of existing false flooring and providing 2mm thick heavy duty PVC tiles (heavy duty vinyl flooring) on IPS floors and skirting with adhesive etc. | Sqm | 25 | 900 | 0.225 | Item F1 of WO. No. -17(7)/536/02/CONT/Renovation273 dtd.14.12.2016 =Rs. 600/m2+ dismantling of false flooring item no DIS-4 rate Rs300/=
| Dismantling of exiting wall of Telementy room | Sqm | 2.4 | 910.3913 | 0.021849 | 14.4
| Providing new gypsum board false ceiling in existing telemetry room with hangers, Tees and angles | Sqm | 25 | 996.4783 | 0.24912 | 12.45.1
| Total cost of Civil Works for other than Equipment Foundation |  |  |  | 1.693

## PKGCOST_ESQUARE (hidden)
CONFIDENTIAL
Ref. No.: CET-17(4)/4004/ 31
Date: 04.02.2015
STEEL AUTHORITY OF INDIA LIMITED
BOKARO STEEL PLANT
Installation of FDA in all substations and cable cellar and CCTV surveillance with Central Control Room
PACKAGE COST ESTIMATE
TS NO.:
Rs. Crore
Sl.No. | Description of Item | FC | LC | Total
1 | Design & Engineering | 0 | 0.39322 | 0.39322
2 | Supply of Plant & Equipment Incl. Technological Structures | 0 | 7.1355 | 7.1355
3 | Supply of Building steel structures including Sheeting and Glazing |  | 0 | 0
4 | Supply of Refractories | 0 | 0 | 0
5 | Civil Engineering Work including all related supplies- for equipment foundation |  | 0 | 0
6 | Civil Engineering Work including all related supplies- Others |  | 0.019978 | 0.019978
7 | Storage, Handling, Erection of Plant & Equipments & Refractories including Commisioning and PG tests of the facilities |  | 0.84891 | 0.84891
8 | Storage, Handling and Erection of Building Steel Structures |  | 0 | 0
9 | Foreign Supervision charges in India during erection, startup, commissioning and PG test for _____mandays | 0 |  | 0
10 | Training charges: (a) For ___________ Foreign mandays, (b) For ___________Indian mandays | 0 | 0 | 0
11 | Customs, Port clearance (excluding duties & cess to be paid by Employer) and Inland transportation (for all items quoted in foreign currency) |  | 0 | 0
12 | Comprehensive / Transit Storage-cum-erection insurance |  | Included above
13 | Supply of 2 years O & M spares | 0 | 0 | 0
14 | Sub-total (1 to 13) | 0 | 8.3976 | 8.3976
15 | Purchaser's Scope: | 0 | [6 empty] | 0
i | BCD @7.5% on CIF |  | 0 | 0
ii | Social welfare surcharge @ 10% on BCD |  | 0 | 0
iii | GST @ 18 % on imported supply |  | 0 | 0
iv | Income Tax @ 10 % grossed-up on imported services |  | 0 | 0
v | GST @ 18 % on imported Services & IT |  | 0 | 0
15 | Total Package Cost |  | 8.3976 | 8.3976
16 | Input tax credit (ITC) for GST |  | 1.2765 | 1.2765
17 | Package cost net of ITC for GST (15-16) | 0 | 7.1211 | 7.1211
| 1 EURO=Rs. | 75 | 13.05.2016
| 1 USD=Rs. | 68 | -do
| Erection for imported supply | 6%
| Erection for plant & equipt | 12%
| Erection for structure | 20% | [5 empty] | Rs. Cr.
| Erection for refractory | 12%
| CD | 7.5%
Sl.No | Item | Basic cost |  | Indigenous supplies & services
|  | Imp. Items | Indg. Items | GST Ind. supply | GST Ind. services | Inland Frt & Ins | Purchaser's scope | Total
| 5% |  | 5% | 18% | 18% | 18%
1 | Design & Engineering | 0 | 0.33324 |  | 0.059983 |  |  | 0.39322
2 | Supply of Plant & eqpt |  | 5.9285 | 1.0671 | 0.021342 | 0.11857 |  | 7.1355
3 | Supply of SW |  |  | 0 |  | 0 |  | 0
4 | Supply of Tech Strs |  |  | 0 | 0 | 0 |  | 0
5 | Building structures |  |  | 0 | 0 | 0 |  | 0
6 | Refractories |  |  | 0 | 0 | 0 |  | 0
7 | Civil work incl. all related supplies -Equipment foundation |  |  |  | 0 |  |  | 0
| Civil work incl. all related supplies - Others |  | 0.01693 |  | 0.0030475 |  |  | 0.019978
8 | Erection of Plant & eqpt |  | 0.71142 |  | 0.12805 |  |  | 0.83947
| Erection of Tech Strs, |  | 0 |  | 0 |  |  | 0
| Erection of Refractories |  | 0 |  | 0 |  |  | 0
| Dismantling |  | 0.008 |  | 0.00144 |  |  | 0.00944
| Erection of build. strs |  | 0 |  | 0 |  |  | 0
9 | Foreign Supervision | [6 empty] | 0
10 | Training | [6 empty] | 0
11 | a) Ocean Freight | 0 | [5 empty] | 0
| b) Custom, port clearance & inland trasport |  |  |  | 0 | 0 | 0 | 0
12 | Supply of 2 years O&M spares |  |  | 0 | 0 | 0 |  | 0
13 | Purchaser's scope | [6 empty] | 0
| Total | 0 | 6.9981 | 1.0671 | 0.21387 | 0.11857 | 0 | 8.3976
| ITC for GST |  |  | 1.0671 | 0.20938 |  | 0 | 1.2765
7.1211
0
0

## PBE
CONFIDENTIAL
Annexure-I
Ref. No.: CET-17(4)/4750-243
Date:07.10.2023
STEEL AUTHORITY OF INDIA LIMITED
BOKARO STEEL PLANT
Procurement of Installation of FDA & CCTV system in all HT substations along with centralized monitoring at BSL
REVISED PRICE BID EVALUATION
Comparative statement of the quoted prices w.r.t. estimate
₹ Crore
Sl.No. | Description of Item | ESTIMATE | M/s Glyptic India Revised Price Break Up dt.22.09.2023 (vide email from BSL dt.05.10.2023) | M/s DG Micropronix pvt. Ltd.- Kolkata | M/s West Bengal Electronics Industry Devleopment Corporation ltd. | M/s Reliance Fire Protection Systems. - Mumbai
|  | Total | Total | Total | Total | Total
1 | Design & Engineering | 0.38358 | 0.47706
2 | Supply of Plant & Equipment Incl. Technological Structures | 6.9598 | 3.8095
3 | Supply of Building steel structures including Sheeting and Glazing | 0
4 | Supply of Refractories | 0
5 | Civil Engineering Work including all related supplies- for equipment foundation | 0
6 | Civil Engineering Work including all related supplies- Others | 0.019978 | 0.0059
7 | Storage, Handling, Erection of Plant & Equipments & Refractories including Commisioning and PG tests of the facilities | 0.82824 | 0.47706
8 | Storage, Handling and Erection of Building Steel Structures | 0
9 | Foreign Supervision charges in India during erection, startup, commissioning and PG test for _____mandays | 0
10 | Training charges: (a) For ___________ Foreign mandays, (b) For ___________Indian mandays | 0
11 | Customs, Port clearance (excluding duties & cess to be paid by Employer) and Inland transportation (for all items quoted in foreign currency) | 0
12 | Comprehensive / Transit Storage-cum-erection insurance | Included above
13 | Supply of 2 years O & M spares | 0
14 | Total Package Cost | 8.1916 | 4.7695
15 | Input tax credit (ITC) for GST | 1.2451 | 0.72666
16 | Package cost net of ITC for GST (14-15) | 6.9465 | 4.0429 | 4.0568 | 4.8626 | 5.196
17 | Variance w.r.t estimate |  | -41.8% | -41.6% | -30% | -25.2%
18 | Ranking |  | L-1 | L-2 | L-3 | L-4
This is a computer generated document. This does not require signature.
|  | TOTAL ITC | 7266560.4736