## BOQ Block Cost 9A (hidden)
S T E E L A U T H O R I T Y OF I N D I A L I M I T E D | [5 empty] | 2025-03-07
DURGAPUR STEEL PLANT
BROWNFIELD EXPANSION OF DSP (04/DE/5110)PKG 11 -Enabling Package
Basic cost Estimation
Base date: 1st Qtr 2025
Item | Description | Unit | Qty. | Rate (LC), Rs. L | Amount (LC), Rs.L | Basis
I | Civil Qty. (new work) for Enabling pkg. |  |  |  |  | DSR 2023 |  | WPI
2 | Excavation | m3 | 98620 | 482.436 | 534.7481 | 2.8.1+0.8*2.25+0.2*1.1.2 (COL 8) | 2023 Jun | 142
3 | PCC M-10 (apron included) | m3 | 1620 | 9619.45 | 175.1499 | 4.20.1.1+2*4.3.1 | 2025 Jan | 159.6
4 | RCC M-25C | m3 | 5307.12 | 16589.5 | 989.5477 | 5.33.2.1+ 7 * 5.9.6 |  | 1.1239
5 | Reinforcement | t | 44.64 | 107850 | 54.1114 | 5.22A.6*1000
6 | Insert | t | 5 | 100000 | 5 | Rate same as strl supply and erection
7 | Brick on edge Soiling for Apron | m2 | 2080 | 965.55 | 22.5727 | 11.1.2
8 | Boulder Soiling for grade floor | m3 | 2700 | 1636.05 | 49.6484 | 16.3.2
9 | Grout | m3 | 4 | 9459 | 0.42526 | 5.33.1.2
10 | Precast concrete | m3 | 750 | 33018.75 | 278.3341 | 5.36
11 | CI Grating | Sqm. | 4800 | 600 | 28.8 | Engg. Estimate
12 | New road | Sqm. | 1100 | 4000 | 44 | Modified qty.Engg. Estimate
13 | Road widening | Sqm. | 2200 | 3000 | 66 | Modified qty.Engg. Estimate
14 | New culvert-Earthwork | m3 | 350 | 482.436 | 1.8978 | New item added. 2.8.1+0.8*2.25+0.2*1.1.2 (COL 8)
15 | New culvert-PCC | m3 | 25 | 9619.45 | 2.7029 | New item added. 4.20.1.1+2*4.3.1
16 | New culvert-RCC | m3 | 350 | 16589.5 | 65.2598 | New item added. 5.33.2.1+ 7 * 5.9.6
17 | New culvert-GI pipes | RM | 80 | 390 | 0.35067 | New item added. Item no. 1550 of DSR
18 | New culvert-Reinforcement | t | 40 | 107850 | 48.4869 | New item added. 5.22A.6*1000
19 | New track laying | Km | 0 | 40000000 | 0 | In separate package
20 | Track strengthening (For those tracks catering to BF-5 and SMS) From BF to SMS area | Km | 0 | 20000000 | 0 | In separate package
21 | Track strengthening Upto BF-1 in BF area | Km | 0 | 20000000 | 0 | In separate package
22 | Track length for strengthening in TLRS area | Km | 0 | 20000000 | 0 | In separate package
23 | Track length for strengthening surrounding the HMGS area | Km | 0 | 20000000 | 0 | In separate package
Enabling Total
II | Civil Qty. (dismantling work) for Enabling pkg. |  |  |  | 0
2 | Dismantling of PCC | m3 | 15 | 1503.6 | 0.25349 | 15.2.2
3 | Dismantling of RCC M-25C | m3 | 330 | 3551.25 | 13.1716 | 15.3
4 | Dismantling of Brick Work | m3 | 140 | 2060.2 | 3.2418 | 15.7.4
3 | Brickwall dismantling for CHRD wall | Cum. | 31.25 | 2060.2 | 0.72361 | New item added. 15.7.4
| Carriage of building rubbish | m3 | 485 | 354 | 1.9297 | 1.1.1-col.8+col.9x5 |  | 354
| Carriage of building serviceable materials | t | 40 | 314.7 | 0.14148 | 1.1.11-col.8+col.9x5 |  | 314.66
5 | Dismantling of Doors, windows, Ventilators | m2 | 48 |  | 0 | Withdrawn
6 | Dismantling of False Ceiling | m2 | 480 |  | 0 | Withdrawn
7 | Dismantling of False Floor | m2 | 480 |  | 0 | Withdrawn
8 | Track dismantling | m | 0 | 2000 | 0 | In separate package
| Dismantling Work Total |  |  |  | 19.4617
III | Enabling SIS, UG mapping, boundary wall construction and cost of construction power arrangement
1 | Area survey | m2 |  | 1 | 0 | In separate package
2 | Soil investigation | No. |  | 100000 | 0 | In separate package
3 | Underground mapping | m2 |  | 15 | 0 | In separate package
4 | Boundary wall for pellet plant | RM |  | 3000 | 0 | Descoped
5 | Pillar markings for pellet plant-Excavation | m3 | 2540 | 482.436 | 13.7727 | New item added. 2.8.1+0.8*2.25+0.2*1.1.2 (COL 8)
| Pillar markings for pellet plant-Reinforcement | t | 12.7 | 107850 | 15.3946 | New item added. 5.22A.6*1000
| Pillar markings for pellet plant-RCC M25C | m3 | 119.4 | 16589.5 | 22.2629 | New item added. 5.33.2.1+ 7 * 5.9.6
| Pillar markings for pellet plant-PCC M10 | m3 | 25.4 | 9619.45 | 2.7462 | New item added. 4.20.1.1+2*4.3.1
6 | Area development for pellet plant-Total cutting/ filling | m3 | 182115 | 300 |  | Deleted
| Area development for pellet plant-Total cutting/ filling | m3 | 281002.5 | 300 | 843.0075 | Revised cost. Engg. estimate
7 | Boundary wall for Oxygen plant | RM |  | 3000 | 0 | Descoped
8 | Pillar markings for BOO Oxygen plant-Excavation | m3 | 790 | 482.436 | 4.2836 | New item added. 2.8.1+0.8*2.25+0.2*1.1.2 (COL 8)
| Pillar markings for BOO Oxygen plant-Reinforcement | t | 3.8 | 107850 | 4.6063 | New item added. 5.22A.6*1000
| Pillar markings for BOO Oxygen plant-RCC | m3 | 37.2 | 16589.5 | 6.9362 | New item added. 5.33.2.1+ 7 * 5.9.6
| Pillar markings for BOO Oxygen plant-PCC | m3 | 7.9 | 9619.45 | 0.85413 | New item added. 4.20.1.1+2*4.3.1
9 | Re-building of CHRD boundary wall | RM | 140 | 3000 | 4.2 | New item added. Engg. estimate
10 | Area development for oxygen plant-Total cutting/ filling | m3 | 0 | 300 | 0
| Area development for oxygen plant-Total cutting/ filling | m3 | 24282 | 400 | 97.128 | Engg. estimate
| Area development for oxygen plant-Total cutting/ filling | m3 | 16188 | 350 | 56.658 | Engg. estimate
| Area development for oxygen plant-Total cutting/ filling | m3 | 8094 | 350 | 28.329 | Engg. estimate
11 | Area development for skull breaker yard-Total cutting/ filling | m3 | 16600 | 350 | 58.1 | New item added. Engg. estimate
12 | Construction power arrangement (As received vide mail from TFM (Electrical) | LS | 1 |  | 800 | 8 Cr. Lumpsum basis
13 | Supply & laying of new cables for relocation of existing cables (As received vide mail from TFM (Electrical) | LS | 1 |  | 200 | 2 Cr. Lumpsum basis
14 | HT-5 to CDI cable route diversion estimate (As received vide mail from TFM (Electrical) |  |  |  | 73 | New item added
| Total Civil Others |  |  |  | 4637.2381
I | Relocation of BF Slurry pond
1 | BF slurry pond relocation- Laying of 3 nos. DN 100 slurry over new trestles | t | 50 | 1.5 | 75 | Engg. Estimate
2 | Replacement of 3x2 (6 nos.) Slurry trsasfer pumps of 60 m3/h and 95mHead | Nos. | 6 | 15 | 90 | Engg. Estimate
| Total Equipment |  |  |  | 165
STRUCTURAL
1 | Bldg. Structures | t | 357 | 90000 | 321.3
2 | Cable gallery | t | 150 | 90000 | 135 | New item added. Engg. estimate. Rate to be suitably consideredby CTE.
| Building Structure |  |  |  | 456.3
DISMANTLING
1 | Dismantling of Struc. | t | 0 | 5000 | 0 | Deleted
2 | Dismantling of Sheeting | Sqm. | 0 | 300 | 0 | Deleted
| Dismantling |  |  |  | 0
5258.5381

## PC Block Cost (hidden)
CONFIDENTIAL
Ref. No.: CET-17(4)/5110/79
|  |  | Date | 2025-12-10
STEEL AUTHORITY OF INDIA LIMITED
Durgapur Steel Plant
Brownfield Expansion of Durgapur Steel Plant
Enabling Package (PACKAGE 9 A) | Augmentation of facilities to supply rails for Iran export order
PACKAGE COST ESTIMATE
TS NO.: CET/04/RN/5110/TS/CE/01/R=2
|  | 0 |  | Rs. Crore
0
Sl.No. | Description of Item | FC | LC | Total
1 | Design & Engineering | 0 | 0 | 0
2 | Supply of Plant & Equipment Incl. Technological Structures | 0 | 1.9859 | 1.9859
3 | Supply of Building steel structures including Sheeting and Glazing |  | 5.8689 | 5.8689
4 | Supply of Refractories | 0 | 0 | 0
5 | Civil Engineering Work including all related supplies- for equipment foundation |  | 0 | 0
6 | Civil Engineering Work including all related supplies- Others |  | 55.2666 | 55.2666
7 | Storage, Handling, Erection of Plant & Equipments & Refractories including Commisioning and PG tests of the facilities |  | 0.23598 | 0.23598
8 | Storage, Handling and Erection of Building Steel Structures |  | 1.0876 | 1.0876
9 | Foreign Supervision charges in India during erection, startup, commissioning and PG test for _____mandays | 0 |  | 0
10 | Training charges: (a) For ___________ Foreign mandays, (b) For ___________Indian mandays | 0 | 0 | 0
11 | Customs, Port clearance (excluding duties & cess to be paid by Employer) and Inland transportation (for all items quoted in foreign currency) |  | 0 | 0
12 | Comprehensive / Transit Storage-cum-erection insurance |  | Included above | Included above
13 | Supply of 2 years O & M spares | 0 | 0 | 0
14 | Sub-total (1 to 13) | 0 | 64.4451 | 64.4451
15 | Purchaser's Scope: | 0 | [6 empty] | 0
i | BCD @7.5% on CIF |  | 0 | 0
ii | Social welfare surcharge @ 10% on BCD |  | 0 | 0
iii | GST @ 18 % on imported supply |  | 0 | 0
iv | GST @ 18 % on imported Services |  | 0 | 0
| Sub-total (15) | 0 | 0 | 0
15 | Total Package Cost (14) | 0 | 64.4451 | 64.4451 | 64.4451 | TRUE
16 | Input tax credit (ITC) for GST |  | 0.41286 | 0.41286 | 0.41286 | TRUE
17 | Package cost net of ITC for GST (15-16) | 0 | 64.0322 | 64.0322 | 64.0322 | TRUE | 0%
(M. K. Mishra)
GM (Projects-CTE)
SAIL/CET
1 EURO=Rs.
1 USD=Rs.
| Erection for imported supply | 6%
| Erection for plant & equipt | 12%
| Erection for structure | 20% | [5 empty] | Rs. Cr.
| Erection for refractory | 12%
| CD | 7.5%
| BoCW Cess | 1%
Sl.No | Item | Basic cost |  | Indigenous supplies & services
|  | Imp. Items | Indg. Items | GST Ind. supply | GST Ind. services | Inland Frt & Ins | Purchaser's scope | Total
| 5% | 0% | 5% | 18% | 18% | 18%
1 | Design & Engineering | 0 | 0 |  | 0 |  |  | 0
2 | Supply of Plant & eqpt |  | 1.65 | 0.297 | 0.00594 | 0.033 |  | 1.9859
3 | Supply of SW |  |  | 0 |  | 0 |  | 0
4 | Supply of Tech Strs |  |  | 0 | 0 | 0 |  | 0
5 | Building structures |  | 4.563 | 0.82134 | 0.073921 | 0.41067 |  | 5.8689
6 | Refractories |  |  | 0 | 0 | 0 |  | 0
7 | Civil work incl. all related supplies -Equipment foundation |  |  |  | 0 |  |  | 0
| Civil work incl. all related supplies - Others |  | 46.8361 |  | 8.4305 |  |  | 55.2666
8 | Erection of Plant & eqpt |  | 0.19998 |  | 0.035996 |  |  | 0.23598
| Erection of Tech Strs, |  | 0 |  | 0 |  |  | 0
| Erection of Refractories |  | 0 |  | 0 |  |  | 0
| Dismantling |  | 0 |  | 0 |  |  | 0
| Erection of build. strs |  | 0.92173 |  | 0.16591 |  |  | 1.0876
9 | Foreign Supervision | [6 empty] | 0
10 | Training |  |  |  | 0 |  |  | 0
11 | a) Ocean Freight | 0 | [5 empty] | 0
| b) Custom, port clearance & inland trasport |  |  |  | 0 | 0 | 0 | 0
12 | Supply of 2 years O&M spares |  |  | 0 | 0 | 0 |  | 0
13 | Purchaser's scope | [5 empty] | 0 | 0
| Total | 0 | 54.1708 | 1.1183 | 8.7123 | 0.44367 | 0 | 64.4451
| ITC for GST |  |  | 0.297 | 0.11586 |  | 0 | 0.41286
64.0322

## PBER
CONFIDENTIAL
Annexure-I
Ref. No.: CET-17(4)/5110/126
Date: 22.12.2025
STEEL AUTHORITY OF INDIA LIMITED
DURGAPUR STEEL PLANT
Brownfield Expansion of Durgapur Steel Plant
Price Bid Evaluation
Enabling Works (PACKAGE 9A)
Comparative Statement of Quoted Price w.r.t. Estimate
Rs. Crore
Sl.No. | Description of Item | Estimate | M/s H N CONSTRUCTION PRIVATE LIMITED | M/s BHARAT TRADING COMPANY | M/s COAL MINES ASSOCIATED TRADERS PRIVATE LIMITED | M/s De_s Technico Limited
1 | Design & Engineering | 0 | 3.7936
2 | Supply of Plant & Equipment Incl. Technological Structures | 3.1282 | 29.807
3 | Supply of Building steel structures including Sheeting and Glazing | 5.8689 | 0
4 | Supply of Refractories | 0 | 0
5 | Civil Engineering Work including all related supplies- for equipment foundation | 0 | 15.1745
6 | Civil Engineering Work including all related supplies- Others | 56.7949 | 0
7 | Storage, Handling, Erection of Plant & Equipments & Refractories including Commisioning and PG tests of the facilities | 0.3717 | 5.4195
8 | Storage, Handling and Erection of Building Steel Structures | 1.0876 | 0
9 | Foreign Supervision charges in India during erection, startup, commissioning and PG test for _____mandays | 0 | 0
10 | Training charges: (a) For ___________ Foreign mandays, (b) For ___________Indian mandays | 0 | 0
11 | Customs, Port clearance (excluding duties & cess to be paid by Employer) and Inland transportation (for all items quoted in foreign currency) | 0 | 0
12 | Comprehensive / Transit Storage-cum-erection insurance | Included above | 0.059
13 | Supply of 2 years O & M spares | 0 | 0
14 | Sub-total (1 to 13) | 67.2513 | 54.2536
15 | Input tax credit (ITC) for GST | 0.6078 | 8.276
16 | Package cost net of ITC for GST (14-15) | 66.6435 | 45.9776 | 46.1213 | 55.1731 | 61.6387
17 | Variance w.r.t estimate |  | -31.01% | -30.79% | -17.21% | -7.51%
18 | Ranking |  | L-1 | L-2 | L-3 | L-4
This is a computer generated document. It does not require signature.

## Sheet3 (hidden)
M/s H N CONSTRUCTION PRIVATE LIMITED
SL. NO. | Description | BASIC | GST | TOTAL
1 | Design & Engineering | 3.2149 | 0.57869 | 3.7936
2 | Supply of Plant & Equipment Incl. Technological Structures | 25.2602 | 4.5468 | 29.807
3 | Supply of Building steel structures including Sheeting and Glazing |  | 0 | 0
4 | Supply of Refractories |  | 0 | 0
5 | Civil Engineering Work including all related supplies- for equipment foundation | 12.8597 | 2.3148 | 15.1745
6 | Civil Engineering Work including all related supplies- Others |  | 0 | 0
7 | Storage, Handling, Erection of Plant & Equipments & Refractories including Commisioning and PG tests of the facilities | 4.5928 | 0.8267 | 5.4195
8 | Storage, Handling and Erection of Building Steel Structures |  | 0 | 0
9 | Foreign Supervision charges in India during erection, startup, commissioning and PG test for _____mandays |  | 0 | 0
10 | Training charges: (a) For ___________ Foreign mandays, (b) For ___________Indian mandays |  | 0 | 0
11 | Customs, Port clearance (excluding duties & cess to be paid by Employer) and Inland transportation (for all items quoted in foreign currency) |  | 0 | 0
12 | Comprehensive / Transit Storage-cum-erection insurance | 0.05 | 0.009 | 0.059
13 | Supply of 2 years O & M spares |  | 0 | 0
| TOTAL | 45.9776 | 8.276 | 54.2536
|  |  | ITC | 8.276
|  |  | NET OF ITC | 45.9776